## Slide 1
WP3: Proton and ion capture
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)

## Slide 2
Gabor lens
The focal length of the Gabor lens:
where is electric charge of the electron
is the plasma density
is the length of the plasma
is the permittivity of free space
is the kinetic energy of the positively charge particle.
Penning-Malmberg trap
Plasma density: 4×1015 m-3
Radius: 3.65 cm
Length: 1 m
Aymar, G., Becker, T., Boogert, S., Borghesi, M., Bingham, R., Brenner, C., ... & Xiao, R. (2020). LhARA: the laser-hybrid accelerator for radiobiological applications. Frontiers in Physics, 8, 567738.
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)

## Slide 3
Swansea Positron Beamline
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)

## Slide 4
Experimental setup
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)
Solenoid: B mT
Brillouin density limit: 7.7×1015 m-3
28.1cm
4.1cm
Electron source
Phosphor screen

## Slide 5
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)
Results (presented in the last meeting)
Using rotating wall to compress the plasma
https://alpha.web.cern.ch/science/rotating-wall
r
0.1 r
r
0V
-140V
-140V
RW
A six-segment rotating wall electrode is used to control plasma radii.
The relative phase of the signal applied to each sector of the electrode is labelled.
This gives a rotating electric field perpendicular to the axis of symmetry of the plasma.
The electric field induces an electric dipole moment in the plasma, leading to plasma compression.

## Slide 6
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)
Results (presented in the last meeting)
Using rotating wall to compress the plasma
0V
-140V
-140V
RW
RW applied
1.7×109 electrons
Radius:
Length:
Load: 1s
Hold: 17us
RW: 14 MHz, 2.5 Vpp,1s
CO2 pressure: 8.3×10-7 mBar

## Slide 7
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)
Results (presented in the last meeting)
Plasma temperature
Measuring the temperature by detecting the number of electrons escaping from the trap when reducing the trap potential.
0V
-140V
-140V
RW
RW applied
1.7×109 electrons
Temperature:
Space charge:

## Slide 8
Updated results
Peak density calculation.
Varying the pressure of the cooling gas.
Modifications:
  Installed the solenoid coil translation stage
  Installed HV amplifier for generating deeper trap potentials.
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)

## Slide 9
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)
Calculate peak density
Load: 1s
Hold: 17us
RW: 14 MHz, 2.5 Vpp,1s
CO2 pressure: 8.3×10-7 mBar

## Slide 10
93.8 Me-
Total image intensity = 217361
Fitted function:
Calibration measurement
Load: 3 us, Hold: 17us
P-screen bias: 3kV
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)
Calculate peak density

## Slide 11
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)
Calculate peak density
y (mm)
x (mm)
Number of particles
~ 3 % of the Brillouin limit
Load: 1s
Hold: 17us
RW: 1-30 MHz, 2.5 Vpp,1s
CO2 pressure: 8.3×10-7 mBar

## Slide 12
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)
Vary CO2 pressure
4.2×10-7 mBar
8.3×10-7 mBar
12.4×10-7 mBar
16.5×10-7 mBar
Load: 1s, Hold: 17us, CO2 cooling gas, Pressure: 4.2×10-7 – 16.5×10-7 mBar
RW frequency: 14MHz, 2.5Vpp, 3us-1s

## Slide 13
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)
Solenoid coil translation stage

## Slide 14
Lifetime
Load: 1s
Hold: 3us-10s
0V
V bias: -140V
-140V
y
z
x
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)
Solenoid coil translation stage

## Slide 15
09/08/2024 (Fri)
Vout = 39.6439 Vin - 0.0370893
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)
HV amplifier calibration

## Slide 16
Load: 1s
Hold: 17us
RW: 14 MHz, 1s, 2.5 Vpp
CO2 pressure: 8.3×10-7 mBar
-140V: 20240815112355
-400V: 20240815114339
Trap depth: -400V
Trap depth: -140V
09/08/2024 (Fri)
Rotating wall + CO2
Moved P-screen up
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)

## Slide 17
Peak density
  The density of the generated plasmas is 2.3×1014 m-3.
Radius
  The radius of the created plasmas is 1.6 mm.
Using the deeper trap potential:
Higher number of particles  Larger radius  Higher density
Next steps …
Investigate the dumping mechanism.
More systematic RW studies:
  Apply stronger rotating wall
  Optimize the cooling gas pressure
  Large parameters …
Conclusion and outlook
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)
Plasma density: 4×1015 m-3
Radius: 3.65 cm
Length: 1 m

## Slide 18: WP3 Personnel
W. Bertsche
M. Charlton
S. Eriksson
D. P. van der Werf
C. A. Isaac
C. Baker
P. Ruksasakchai
T. Dascalu
J. Fajans
J. Wurtele
B. Bingham
R. Hugtenburg
J. Purden
A. Knoll
E. Bennet
ITRF/LhARA Collaboration Meeting and ITRF 24 month review (2nd September 2024)