## Slide 1: Quantum Sensing for the Hidden Sector
Ed Daw, on behalf of the Quantum Sensors for the Hidden Sector collaboration
+

## Slide 2: QCD Axions
Strong CP problem
Dark matter problem
Standard model symmetry group is:
Neutron electric
dipole moment
Peccei Quinn mechanism:
CP conserved in QCD below a symmetry breaking energy scale
Breaking of the Peccei Quinn symmetry yields axions
QCD axions are wave-like dark matter; at masses , dark matter axions thermalized locally in our halo have de Broglie wavelengths of hundreds of metres
Non-Abelian
Non-Abelian
Abelian
CP Conserving
CP
Violating
CP Conserving?
QCD
Electroweak
EM
[DATA]
Luminous Matter:
Radiation 0.005%
Stars/Luminous Gas 0.4%
Other Nonluminous Matter:
Supermassive BHs 0.04%
Intergalactic Gas 3.6%
Neutrinos 0.1%
Dark Matter 23%
Dark Energy 73 %

## Slide 3: Theoretical Progress - HEP
Theoretical progress - Devices
Ed Hardy, John March Russell, Stephen West, Subir Sarkar, N. Song, G. Gregori, Ph.D students
[1] K.A. Beyer and S. Sarkar, Ruling out light axions: The writing is on the wall. SciPost Phys. 15 (2023) 003. (DOI:10.1088/1475-7516/2022/10/019, cited in the 2023 update of the Review of Particle Properties) https://inspirehep.net/literature/2105425
[2] M. Gorghetto & E. Hardy. Post-inflationary axions: a minimal target for axion horoscopes. JHEP 05 (2023) 030. (DOI:10.1007/JHEP05(2023) 030) https://inspirehep.net/literature/2618652
[3] M. Gorghetto, E. Hardy, H. Nicolaescu, A. Notari, M. Redi. Early vs late string networks from a minimal QCD Axion. JCAP accepted (DOI:10.48550/arXiv.2311.09315) https://inspirehep.net/literature/2723225
[4] E. Hardy & N. Song. Listening for dark photon radio signals from the Galactic Center. Phys. Rev. D. 107 (2023) 115035. (DOI:10.1103/PhysRevD.107.115035) https://inspirehep.net/literature/2616309
[5] J. March-Russell & J. G. Rosa. Micro-Bose/Proca dark matter stars from black hole superradiance (DOI:10.48550arXiv.2205.15277) https://inspirehep.net/literature/2089045
[6] M. Gorghetto, E. Hardy, J. March-Russell, N. Song, S. M. West. Dark photon stars: formation and role as dark matter substructure. JCAP 08 (2022) 018. (DOI:10.1088/1475-7516/2022/08/018) https://inspirehep.net/literature/2055691
[7] S. Hassan, J. March-Russell, G. Obied. Chern-Simons bubbles: Lopsided false vacuum decay in axion electrodynamics. e-Print: 2402.00119 (DOI:10.48550/arXiv.2402.00119)
https://inspirehep.net/literature/2753908
[8] G. Domenech, R. Mohayaee, S. P. Patil, S. Sarkar. Galaxy number-count dipole and superhorizon fluctuations. JCAP 10 (2022) 019. (DOI: 10.1088/1475-7516/2022/10/019) https://inspirehep.net/literature/2105425
[9] K. A. Beyer, G. Morocco, R. Bingham, G. Gregori. Light-shining-through-wall axion detection experiments with a stimulating laser. Phys.Rev.D 105 (2022) 035031. (DOI: 10.1103/PhysRevD.105.035031) https://inspirehep.net/literature/1935832
[10] K. A. Beyer, G. Morocco, C. Danson, R. Bingham, G. Gregori. Parametric co-linear axion photon instability. Phys.Lett. B 839 (2023) 137759. (DOI: 10.1016/j.physletb.2023.137759) https://inspirehep.net/literature/1898348
[11] S. Whithington. Quantum Electronics for Fundamental Physics. Contemporary Physics, 63 (2023) 116. (DOI:10.1080/00107514.2023.2180179) https://inspirehep.net/literature/2630609]
[12] C.N.Thomas, S. Withington and D.J. Goldie, Superconducting Microwave Detector Technology for Ultra-Light Dark Matter Haloscopes and other Fundamental Physics Experiments: Background Theory (Part I) – arXiv:2403.135541v1
[13] C.N.Thomas, S. Withington and D.J. Goldie, Superconducting Microwave Detector Technology for Ultra-Light Dark Matter Haloscopes and other Fundamental Physics Experiments: Device Physics (Part II) – arXiv:2403.13555v1
Stafford Withington– new schemes for wideband axion detection, Boon Kok Tan – theory of TWPAs

## Slide 4: Haloscope and Receiver Chain
Bandpass
Filter
Network
Analyser
HEMT
amplifiers
Tuneable
resonant cavity
in magnetic field
18.5cm magnet
bore.
Cryogenic
RF switch
Cryogenic
Attenuators
Superconducting
low noise amplifier
in magnetic field shield
variable
port
RF
IF
LO
weak
port
Piezo
motors
Static magnetic field

## Slide 5: The Fridge
Data Acquisition: Room Temperature
Magnet Internal Bore:
18.5 cm
Cavity Temperature:
12 mK
Pulse Tube 1:
Pulse Tube 2:
Still Plate:
700 mK
Cold Plate:
100 mK
Mixing Chamber Plate:
8.5 mK
Tuneable 5 GHz Cavity

## Slide 6
Cavity temperature
sensor at 18mK
Temperature (K)
First Cavity Cooldown
Time offset (days)

## Slide 7
Field Shield
design,
Ed Laird
(Lancaster)
simulations
by
Paul Smith
(Sheffield)
The Magnetic Field Shield

## Slide 8
Standing Wave Parametric Amplifier (SWPA)
Over 20 dB gain over ~ 60 MHz optimal region
Boon Kok Tan, Javier Navarro Montilla

## Slide 9
Joshoua
SNAIL JTWPA – Lancaster, VTT (Finland)
 | Parameters 1 Pump=12.4 GHz, -61 dBm, BC = 695 uA |  |  |  | Parameters 2 Pump=12.4 GHz, -61 dBm, BC = 705 uA |  |  | 
 | T (K) | G (dB) | TTWPA (K) | GTWPA (dB) | T (K) | G (dB) | TTWPA (K) | GTWPA (dB)
 | 1.7 | 81.08 | 1.077007 | 11.74 | 1.66 | 80.04 | 0.868442 | 10.7
 | 1.27 | 80.93 | 0.574357 | 11.55 | 1.75 | 81.2 | 1.096288 | 11.82
 | 2.64 | 79.17 | 1.869082 | 10.55 | 2.13 | 80.51 | 1.56375 | 11.89
 | 1.85 | 75.81 | 0.872882 | 8.88 | 4.93 | 77.36 | 4.246172 | 10.43
 | NA | NA | NA | NA | NA | NA | NA | NA
 | 3.61 | 81.64 | 3.28873 | 13.88 | 4.58 | 79.71 | 4.078963 | 11.95
Signal Frequency (GHz) | Bypass |  | Parameters 0 Pump=13 GHz, -61 dBm, BC = 670 uA |  |  | 
 | Tbypass (K) | G (dB) | Ttotal (K) | G (dB) | TTWPA (K) | GTWPA (dB)
4.00 | 9.3 | 69.34 | 1.91 | 79.05 | 0.915779 | 9.71
4.37 | 9.94 | 69.38 | 2.4 | 79.3 | 1.38752 | 9.92
5.00 | 8.75 | 68.62 | 1.85 | 80.18 | 1.239047 | 11.56
6.00 | 7.55 | 66.93 | 1.72 | 77.79 | 1.100635 | 10.86
6.20 | 7.94 | 66.79 | 1.95 | 76.85 | 1.166894 | 10.06
8.00 | 7.85 | 67.76 | 1.88 | 81.05 | 1.511981 | 13.29
Noise temperatures as low as 574 mK
4.0 GHz:
1.66 K Gain
80.04 dB T Intercept
4.37 GHz:
1.27 K Gain
80.93 dB T Intercept
4.0 GHz
4.37 GHz
Signal Frequency (GHz)
Joshoua Esmenda, Yuri Pashkin & Collaborators

## Slide 10
SLUG Loaded SQUID Amplifier
1 µm
2 µm
T = 6.4 K
Pin = -40 dBm
L = 3.1 pH
R = 5.8 Ω VΦ = 0.14 mV/Φ0
Ling Hao (NPL)
Gemma Chapman (NPL)
Ed Romans (UCL)
Thomas Godfrey (UCL)

## Slide 11
Waveguide Input Port
Device
Coaxial Control Ports
Qubit Sensor Development
Low Frequency Port (4 GHz)
High Frequency Port (10 GHz)
Michele Piscatelli
Peter Leek
-20 dBm: Ramsey_x150

## Slide 12: Current Magnet Status
6T max field with initially delivered magnet, design was for 8T
Quench at higher fields suspected to be caused by deformation of outer shield coil relative to former.
New formerless coil now fabricated and assembled at Oxford Instruments. Cold tests imminent.
Gu Yuwei (Magnet Engineer, Oxford Instruments) and Phil Meeson (RHUL). New Outer Coil.
Initial Magnet at Sheffield
Magnet Coil Being Wound at Oxford Instruments

## Slide 13: ADMX: Superconducting Magnet Test
Nick Du (Post Doc, LLNL ADMX), Paul Smith (Post Doc, Sheffield), Mitch Perry and Claude Mostyn (PhD Students, Sheffield)
VNA Spectrum, Before Cool
Niobium Tin Tuning Rod Coating:
11 K Superconducting
Transition
Niobium Tuning Rod:
9 K SC Transition
Aluminium Cavity:
1 K SC Transition

## Slide 14: Characterisation of superconducting resonators in magnetic fields
PRELIMINARY
Paul Smith – Postdoctoral Associate, Nick Du (Livermore Lab research fellow, ADMX collaborator)

## Slide 15: Current Work
AttoCube piezo actuators to control antenna and tuner installed, hardware connection in progress
Limited torque; about 2 N-cm.
Low friction rotation to
linear motion actuator for
antenna just fabricated.
Mitch Perry (Ph.D.student)
First hot-cold load measurement of stage-2 HEMT amplifier noise temperature was 3.5K
Attenuation of cable between noise source and amplifier at -4.6dB was too high
Planned to be modified with a single length of NbTi coax.
C. Mostyn (Ph.D. student)
PRELIMINARY

## Slide 16: Summary
S
Fridge and cavity installed. Cavity temperature 20mK.
Several low noise amplifiers are far advanced in development at Oxford, Lancaster, UCL, NPL.
6T magnet installed. Can raise field and keep cool.
Upgraded shield coil fabricated, under test, for 8T field.
Motor drives for cavity tuning and antenna coupling installed and tuning test run planned for February
Tests with ADMX of NbSn coated tuning rod indicate that the coating is superconducting in 6T field.
First noise temperature measurements on HFET amplifiers performed in-situ.
First axion search using QSHS will happen in 2025!
Thanks to Claude Mostyn,
slide artwork for this talk.

## Slide 17: Ian Shipsey – Thanks for Everything