## Slide 1
Investigating the biological effects of beam parameters to guide technological developments for clinical applications of FLASH
Prof MC Vozenin
marie-catherine.vozenin@hug.ch

## Slide 2
Preclinical results
Long-term sparing
of vasculature
No fibrosis

## Slide 3
...
10 Gy at eRT6
700 pulse of 3000 bunches each
1 pulse of
5500 bunches
Dose per bunch of 4.6ps
1.8mGy
0.005mGy
1800 ns
1000ns
10ms
(100 Hz)
58.4s
330ps
0.005 mGy
4.6ps
...
Dose per bunch of 4.6ps
x3000
Standard RT: Dose is delivered in several minutes- 1 Gy/min
FLASH: Dose delivered in milliseconds- 100 Gy/s
Micro-sec- MegaGy/s
5.5 MeV
> 40 bio publications

## Slide 4
...
...
13.7ns
0.018mGy
0.0000014mGy
Time
560’200 bunches
728’500’000 bunches
Dose per bunch of 800ps
800ps
10s
13.7ns
800ps
...
10 Gy at PSI
235 MeV
> 20 bio publications
Standard RT: Dose is delivered in several minutes- 1 Gy/min
FLASH: Dose delivered in milliseconds- 100 Gy/s
Varian

## Slide 5
Almeida et al., R&O, 2023, doi.org/10.1016/j.radonc.2023.109953

## Slide 6
P Montay-Gruel
H Kacem
10 Gy per pulse
1 Gy per pulse

## Slide 8
At high dose per pulse, normal tissue sparing is driven by the dose per pulse
Not by the time of dose delivery

## Slide 9
At lower dose per pulse, the time of dose delivery does matter

## Slide 10
L Kunz
J Ollivier
M Knol
At doses <14 Gy and high dose per pulse, normal tissue sparing is driven by the dose per pulse
At higher dose and lower dose per pulse, the time of dose delivery does matter

## Slide 11
190-210 MeV
Standard RT: Dose is delivered in several minutes- 1 Gy/min
Pico-sec

## Slide 12
...
Time
Dose per bunch of 3ps
1200ms
(0.83Hz)
150mGy
100ms
(10Hz)
20mGy
336mGy
1 train
of 67 bunches
67 trains
of 1 bunch
22ns
Time
1 train
of 30 bunches
500 trains
of 1 bunch
10 Gy at CLEAR
...
9ns
Time
Dose per bunch of 3ps
3ps
3ps
x67
79.2s
50s
330ps
150 mGy
3ps
...
x67
H Kacem
L Kunz
J Ollivier

## Slide 13
...
Time
Dose per bunch of 3ps
1200ms
(0.83Hz)
150mGy
100ms
(10Hz)
20mGy
336mGy
1 train
of 67 bunches
67 trains
of 1 bunch
22ns
Time
1 train
of 30 bunches
500 trains
of 1 bunch
10 Gy at CLEAR
...
9ns
Time
Dose per bunch of 3ps
3ps
3ps
x67
79.2s
50s
330ps
150 mGy
3ps
...
x67
H Kacem
L Kunz
J Ollivier

## Slide 14
Total time RT:
- 666ps: ~15-20 ns
- 0.625: ~ 15sec
- 1.2s: ~ 30sec
- 4s: 2min 20sec
Spacing time between bunches

## Slide 15
Total time RT:
- 666ps: ~15-20 ns
- 0.625: ~ 15sec
- 1.2s: ~ 30sec
- 4s: 2min 20sec
Spacing time between bunches

## Slide 16
VHEE beams
To investigate the FLASH parameters
To treat most tumor sites
in a FLASH

## Slide 17
Swiss FLASH «dream» team
Biology team
B Petit
J Ollivier
H Kacem
A Almeida
L Kunz
M Knol
A Job
J Franco-Perez
P Ballesteros-Zebadua
A Martinotti
C Romero
C Godfroid
R Leavitt
J Jansen
Charles Limoli and Team
M Acharya
P Montay-Gruel
J Baulch
B Allen
Y Alaghband
Billy Loo and Team
Peter Maxim
Clinical team
P Tsoutsou
A Durham
N Koutsouvelis
P Jorge
F De Souza
S Fortunato
Physics and clinical team PSI
D C Weber
S Psoroulas
T Lomax
M Togno
M David
S Sairos
R Schafer
I Collizi
SPIRIT
P01/R01
Varian
Veterinary school Zurich
C Rohrer-Bley and team
CLEAR facility
R Corsini
P Korysko
W Farabolini
A Gilardi

## Slide 18: Companion Animal Trials
Species model type and size
Spontaneous tumors → clinical conditions
Hard- & Software → parameter refinement
Spontaneous tumors, genetically heterogeneous
Intact immune system and same environment
Companion animals are routinely irradiated (hypofx)
Intermediate life span → curative trials still with appropriate outcome assessment

## Slide 19: FEATHER: Phase 2/3 trial on feline oral squamous cell carcinoma
2 proton arms with comparable BED (for CONV)
Arm 1: 3x11Gy CONV
Arm 2: 3x11Gy FLASH
Transmission beams (RBE = 1)
Avoid energy-switching deadtime
Avoid range and LET uncertainties
Smaller beams = higher dose rate
Primary endpoint: acute toxicity
Secondary endpoint: anti-tumor efficacy
KFS 5639-08-2022, PI: C. Rohrer Bley, UZH S. Psoroulas, UZH / DC Weber, PSI / MCVozenin, HUG

## Slide 20
Notes: Bubi: before 1st treatment, and at 4 weeks (still some mucositis and hair loss, but no tumor visible)

## Slide 21
10 Gy Single pulse WB FLASH irradiation
Brain function
Montay-Gruel et al. 2017
Montay-Gruel et al. 2018
Montay-Gruel et al. 2019
Simmons et al. 2019
Alaghband et al. 2020
Alaghband et al. 2023
Allen et al, 2023
Almeida et al, 2024
Adults
Pediatrics
10 Gy

## Slide 23
Dose per bunch escalation