## Slide 1
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
High Gradient Technology for VHEE Linac in FLASH Radiotherapy HG2025, Mérida, Yucatán, México
L. Giuliano, E. Chiadroni, A. Curcio, S. Farina, M. Magi, A. Mostacci, M. Migliorati, L. Palumbo Sapienza University of Rome
L. Ficcadenti, E. Lalli INFN – Rome
D. Alesini, F. Cardelli, R. Di Raddo, L. Faillace, B. Spataro INFN-LNF
G.S. Mauro, G. Sorbello, G. Torrisi INFN-LNS

## Slide 2
OUTLINE
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
FLASH therapy in a nutshell
SAFEST project and 24 MeV FLASH linac@Sapienza
Phase 1 – SW structure (2025)
  Durk current estimation
  Mechanical drawing and realization
  Triode gun optimization
Phase 2: TW structure (2026)
  First prototype for low power test and tuning
  Second prototype for high power test
Conclusion

## Slide 3
FLASH Therapy IN A NUTSHELL
Dose rate =0,1 Gy/s
Dose rate =125 Gy/s
It is a new way to deliver the dose:
- high dose per pulse (>1 Gy) in “very short time” of irradiation (< 100 ms )
- high mean dose rate (>40-100Gy/s)
Courtesy of V. Faudon
Healthy Fibrosis Healthy
Control 17 Gy CONV 17 Gy FLASH
FLASH THERAPY
FLASH irradiation protects healthy tissues from damage and remains as efficient as conventional irradiation in the repression of tumor growth.
 | Conventional | FLASH
Dose (Gy) | 17 | 17
Mean Dose rate (Gy/s) | 0,03 | 60
Favaudon et al., Science Translational Medicine 6, 2014
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México

## Slide 4
SAFEST PROJECT
VHEEs
Very High Energy Electrons
>100MeV
SAFEST Parameters | Value
Frequency | 5.712 GHz
RF pulse length | 5 ms
RF source Power | 45 MW
LINAC length | ~ 3 m
Nominal beam energy | 100 MeV
Beam pulse current | 100 mA
Emerging Research Trends
L. Faillace et al., Perspectives in linear accelerator for FLASH VHEE: Study of a compact C-band system, Phisca Medica, November 2022
The choice of operation in C-Band (5.712GHz), by using a compact and modular layout, is an optimal compromise for working with high-charge electron bunches, and still for having more compact accelerating structures
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Notes: TRL 5 – Technology Validated in Relevant Environment: The prototype or system is tested in an environment similar to the intended application.

## Slide 5
24 Mev Flash linac
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
1/4
3/4
A prototype was funded by the PNRR with a budget of 1.6 M€
Asymmetric power splitter
Parameters | Value
Frequency | 5.712 GHz
RF pulse length | 5 ms
Klystron Power | 5 MW
Peak power with pulse compressor | 24.4 MW (b = 3)
Linac length | ~ 1.5 m
Nominal beam energy | 24 MeV
Beam pulse current | 100 mA
Scalable to VHEE machines

## Slide 6
Modulator
Scandinova k100
Klystron
Canon (5MW 200 Hz)
Flash Electron
Accelerator
RF power
distribution network
Electron
beam to users
Cad technical design
Working frequency 5.712GHz (C-band)
Repetion frequency 200Hz
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Pulse compressor
(LNS-INFN design)
RF load
Vacuum pump
Phase shifter
Attenuator

## Slide 7
FLASH ELECTRON ACCELERATOR
Vacuum pump
Electron source
Standing wave structure
RF power
RF power
RF power to loads
Traveling wave structure
Electron
beam
Beam diagnostics
L. Giuliano et al., A compact C-band FLASH electron linear accelerator protoype for the VHEE SAFEST project, Frontiers, March 2025
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México

## Slide 8
Phase 1 – December 2025
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Modulator
Scandinova K100
Klystron
Canon (5MW 200 Hz)
Circulator
SW structure
Electron beam

## Slide 9
Main cotributors: L. Giuliano, L. Faillace
beam
RF power
Standing wave structure
L. Giuliano et al., RF Design and Measurements of a C-Band Prototype Structure for an Ultra-High Dose-Rate Medical Linac, Instruments, February 2024
Input power
Electric field
Input coupler window
Off axis magnetic coupling
Feeding power waveguide
Magnetic field
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Parameters | Value
Mode of operation | Bi-periodic ; p/2
N of cells | 27
Shunt Impedance | 103 MW/m
Quality factor | 10178
Coupling coefficient | 1.58
Beam capture | 35%
Filling Time | 0.220 ms
Average gradient | 17 MV/m
Peak Electric field | 50 MV/m
Beam output energy | 10 MeV
Beam pulse current | 100 mA

## Slide 10
SW mechanical drawing
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
The final realization will be completed by the end of June 2025
RF power
Water cooling
Bunching section
69 cm

## Slide 11
DaRK CURRENT estimation
Main contributions: F. Cardelli, L. Giuliano, M. Migliorati, L. Palumbo
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Energy distribution of the particles detected by the Faraday cup for the entire structure (< 3MeV)
Electron beam axis
Faraday Cup
Current detected by the Faraday cup for the entire structure
Fowler-Nordheim formula

## Slide 12
Electron source: thermionic triode gun
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Electron gun
The first segment of SW replicates the anode industrial configuration
The second part was design by us to maximize the electrons capture
Custom flange designed to maintain the required distance for beam capture optimization
Distance cathode - anode [mm]
Custom flange
Courtesy of S. Farina
ASTRA

## Slide 13
Phase 2: Traveling wave structure (2026)
RF power IN
RF power OUT
beam
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
Parameters | Value
Structure type | Constant Impedance
Shunt impedance | 107 MW/m
Quality factor | 10127
Filling time | 0.143 ms
Group velocity | 0.01c
Mode of operation | 2/3p
Final beam energy | 24 MeV
Beam pulse current | 100 mA
Main contributors D. Alesini, F. Cardelli, A. Curcio, L. Faillace, L. Ficcadenti, L. Giuliano, M. Magi, M. Migliorati

## Slide 14
Main contributors: D. Alesini, R. Di Raddo, L. Faillace, L. Giuliano, M. Magi, M. Migliorati
Brazing alloy
In house building of the accelerating structure
Screws to join the cells
Screws: prevent external clamping and ensure alignment and more reliable assembly
Water cooling hole
RF power
Building the TW structure @ Sapienza
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México

## Slide 15
Tuning of TW section at SApienza-LAB
tuners
Tuning by deformation
Main cotributors: A. Curcio, S. Farina, L. Ficcadenti, L. Giuliano
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México

## Slide 16
FINAL Tuning of TW section at sapienza-LAB
Phase shift after tuning
Electric field after tuning
Electric field before tuning
Phase shift before tuning
Main cotributors: L. Ficcadenti, L. Giuliano
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México

## Slide 17
Power splitter optimization
Main cotributors: L. Ficcadenti, L. Giuliano
The electric field in the power splitter
before optimization
1 Watt
Constriction that caused higher-order mode excitation
Rounding not suitable for mechanical processing
High fields at the curves
The electric field in the power splitter
after optimization
1 Watt
TE010 mode
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México

## Slide 18
Power splitter optimization
Main cotributors: L. Ficcadenti, L. Giuliano, M. Magi
The electric field in the power splitter
after optimization
1 Watt
TE010 mode
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México

## Slide 19
TW realization and low power test
Main cotributors: D. Alesini, F. Cardelli, A. Curcio, S. Farina, L. Giuliano, M. Magi
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
43.23 cm
Sim[GHz] | Meas [GHz]
5,7232 | - ?
5,7202 | 5,7217
5,7193 | 5,7197
5,7178 | 5,7178
5,7157 | 5,7149
5,7132 | 5,7120
5,7106 | - NO
5,7075 | 5,7080
5,7044 | 5,7050
5,7013 | 5,7013
5,6977 | 5,6977
5,6941 | 5,6940
5,6908 | 5,6907
5,6874 | 5,6870
5,6842 | 5,6842
5,6816 | 5,6811
5,6789 | 5,6786
5,6773 | - NO
5,6758 | 5,6756
Measurements without Couplers SW-like:
Peaks match CST simulations ✅
Likely issue: Couplers, not cells
New couplers machinery is ongoing

## Slide 20
PLANNED high POWER TEST AT LNF
C-band Klystron
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
50 cm TW structure
High Power Test scheduled in autumn 2025

## Slide 21
Bunker @ Sapienza University
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
LINAC
Modulator & Klystron
Room Service
The works of the bunker will be completed in October 2025
e-

## Slide 22
CONCLUSION
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México
  24 MeV FLASH Linac is under costruction @Sapienza University
  The procurement of all components is on schedule
  Phase 1: featuring SW 10 MeV, will be completed by the end of 2025
    The SW and gun design has been completed.
    SW structure will be realized by the end of June 2025
  Phase 2: featuring SW and TW 24 MeV, will be completed by the end of 2026
    The TW 50 cm development is in progress
    The high-power test expected to be conducted at Frascati INFN - TEX Laboratory in autumn 2025

## Slide 23
Thank you!!!
Lucia Giuliano et al.
High Gradient Technology for VHEE Linac in FLASH Radiotherapy
HG2025, Mérida, Yucatán, México