## Slide 1: Beam modelling, dose calculation and potential clinical application of a scanned electron beam with ultra-high dose rate
J Bedford J, M Gross, F Riemer, Z Amirkhanyan,
F Stephan and U Oelfke

## Slide 2: Overview
1. VHEE background
2. Electron beam model
Treatment planning with FLASH effect
Potential clinical applications
5. Conclusions

## Slide 3: VHEE background
1

## Slide 4: Treatment planning for VHEE: summary
Bedford and Oelfke Phys. Imaging. Radiat. Oncol. 32: 100670 (2024)
Organ at risk sparing of 0-10%
of prescribed dose

## Slide 5: Choice of VHEE energy
Low energy
High energy
Depth dose
Lower scatter
Steeper penumbra
Lower scatter
Steeper penumbra
Depth dose
Böhlen et al. Med. Phys. 48: 3958-3967 (2021).

## Slide 6: Electron beam model (18 MeV)
2

## Slide 7: Beam line at PITZ: 18 MeV
0.1-1 s
ms
0.2
30
Dose rate (Gy s-1) | 
Bunch | 4 × 1013
Train | 1 × 109
Overall | 1 × 107
Stephan et al. Phys. Med. 104: 174–187 (2022).

## Slide 8: Experimental measurements at PITZ
50 μm Ti exit window
Gafchromic films
50 μm Ti exit window
26 mm
10 mm wall
11.85 mm
11.85 mm
10.85 mm

## Slide 9: Raw measured data
Aim:
Model with
Gaussian beam model
+ Boltzmann solver

## Slide 10: Beam parameters used in modelling
17.5 MeV Gaussian
Parallel beam (10 m source-axis distance)
4.0 mm spot spacing
Elliptical beam profile
4.0 mm × 5.6 mm (spot σ)

## Slide 11: Classic distribution of electron fluence
ICRU 35 (adapted from Brahme 1971)
6 MeV electron beam in air
Gaussian initial distribution
Progressively widening Gaussian distributions of particle position and angle
Based on mass scattering power
ICRU 35: Radiation dosimetry: electron beams between 1 and 50 MeV (1984).

## Slide 12: Discrete ordinates Boltzmann solver
1. Fixed source with continuous slowing down
2. Scatter calculated by Boltzmann integral
3. Multiple scatters achieved by multiple iterations
4. Total fluence = fixed source + multiple scatters

## Slide 13: Discrete ordinates
Probability from differential cross section σ(E,θ)
Probability from total cross section σT (E)
Incoming fluence
Outgoing fluence
Set of energies and directions
Energy: 1 MeV steps
Directions: simple angular
grid
Incoming fluence
1
2
3
3
4
5
5
6
7
7
8
9
14
15
16
16
17
18
18
19
20
20
21
22
10
10
11
11
12
12
13
13
Outgoing fluence
1. Quadrature
2. Cross sections
3. Transport sweeps
Bedford JL. Phys. Med. Biol. 68: 185019 (2023).

## Slide 14: Fitted beam model
Bedford et al. Phys. Med. 125: S334-S335 (2024).
R50% (mm) ≈ 2 × E (MeV)

## Slide 15: Fitted beam model
Bedford et al. Phys. Med. 125: S334-S335 (2024).
Symmetrised beam profiles with calculated fits

## Slide 16: Treatment planning with FLASH effect
3

## Slide 17: Treatment planning summary
AutoBeam v6.4 in-house software
New PITZ beam model
Discrete ordinates Boltzmann dose
Pulse-by-pulse model of dose rate
Used in iterative inverse planning scheme
Takes 10 mins at 2 mm dose grid resolution
Bedford JL. Phys. Med. Biol. 69: 035021 (2024)

## Slide 18: Pulse-by-pulse treatment planning model
Bedford JL. Phys. Med. Biol. 70: 045010 (2025)
Beams give distinct directions
Segments give energy layers in “spread-out electron peak”
Pencil beams are spot positions from kicker
Pulses in this context are bunches
Direction
Energy layer
Spot position
Bunch

## Slide 19: AutoBeam biological layered strategy

## Slide 20: Key FLASH parameters
Monitor unit rate 1013 MU s-1
(1 MU = 1 cGy to 0.01 m2)
1011 Gy s-1 in target
FLASH threshold
10 Gy dose
40 Gy s-1 dose rate
FLASH mod factor 0.2
0.2
FR
100
Dose rate
(Gy s-1)
0.0
0
40
1.0
RBE
10
Dose (Gy)
1-FR
0.0
0
Böhlen et al. Int. J. Radiat. Oncol. Biol. Phys. 114: 1032−1044 (2022).

## Slide 21: Potential clinical applications
4

## Slide 22: Superficial brain tumour
S
I
R
L
A
P
S
I
4 mm
A
P
R
L
A
P
R
L
Gross tumour volume

## Slide 23: Estimation of FLASH effect
L
R
A
A
P
L
R
A
P

## Slide 24: Comparison with Cyberknife: robot paths
Bedford et al. Med. Phys. 47: 1533-1544 (2020)
C-arm equivalent gantry angles
C-arm equiv couch angles

## Slide 25: Electrons versus Cyberknife
L
R
A
P
A
P
R
L

## Slide 26: VHEE arc: superficial lung at 180 MeV
120° arc with 4° control point spacing
L
R
A
P
S
I
R
L

## Slide 27: Superficial lung: Cyberknife comparison
L
R
A
P
L
R
A
P
S
I
S
I

## Slide 28: Conclusions
5

## Slide 29: Discussion and Conclusions
Need to decide on energy: depth dose versus penumbra
VHEE appears beneficial compared to photons
Planning: pulse resolution and overall treatment
Accelerators such as FLASHLAB@PITZ offer potential to exploit FLASH effect
This study uses conservative FLASH factor
The magnitude of the FLASH factor still unknown at such high dose rates
Higher energies may offer VHEE+FLASH benefits
Investigation on cohorts of patients needed

## Slide 30: Acknowledgments
National Health Service
Funding to NIHR Biomedical Research Centre at The Royal Marsden and The Institute of Cancer Research
PITZ DESY
FLASHlab@PITZ