## Slide 1: Power and Beam Dynamics Optimization for a VHEE FLASH LINAC
Stefano Farina
Notes: ‹#›

## Slide 2
‹#›
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
S. Farina et al.
Introduction
Goal: Understand the leading design choices for a VHEE FLASH LINAC.
Such an accelerator has to be as compact and cost effective as possible for a future implementation in hospital environment.
Optimized aspects for a 100 MeV machine:
RF Power Source – Minimizing power (20 MW ?).
RF Cavities – Balance between gradient, simplicity, compactness.
Electron Source – High current for UHDR.
Beam Delivery – Simple and feasible schemes.
Notes: ‹#›

## Slide 3
S. Farina et al.
‹#›
FLASH Radiation Parameters
FLASH irradiation spares healthy tissues from damage while maintaining the same effectiveness as conventional irradiation in inhibiting tumor growth
Courtesy of L. Giuliano
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
Notes: ‹#›

## Slide 4
Design of 100 MeV FLASH LINAC
Drift
S. Farina et al.
30 MV/m (loaded)
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
1 μs
beam
Compressed pulse
1 m each
70 cm
Loaded

## Slide 5
Drift
S. Farina et al.
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
Design of 100 MeV FLASH LINAC
1 μs
beam
Compressed pulse
Klystron Power | 20 MW
Resonant Frequency | 5.712 GHz (C Band)
Final Energy (Loaded) | 100 MeV
Pulse Repetition Frequency | (100 - 200) Hz
Single Pulse duration | (0.1 - 1) μs
Single Pulse charge | ( 1 - 100 ) nC
Number of Structures | 4
Length | 4.35 m

## Slide 6
S. Farina et al.
Electron Beam Structure
Max: 100 mA
Current
1 µs
1 µs
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
10 ps
175 ps

## Slide 7
Beam Dynamics Simulations with ASTRA
S. Farina et al.
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
Previous slides calculation drove the beam dynamics study for the single 1 μs 100 nC pulse establishing the accelerator layout and working point. Then they have been implemented in the ASTRA Simulation tool.

## Slide 8
Previous slides calculation drove the beam dynamics study for the single 1 μs 100 nC pulse establishing the accelerator layout and working point. Then they have been implemented in the ASTRA Simulation tool.
Simulations confirm the feasibility of the proposed working point, showing 100 MeV of simulated energy and good beam transport.
S. Farina et al.
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
Beam Dynamics Simulations with ASTRA

## Slide 9
Previous slides calculation drove the beam dynamics study for the single 1 μs 100 nC pulse establishing the accelerator layout and working point. Then they have been implemented in the ASTRA Simulation tool.
Simulations confirm the feasibility of the proposed working point, showing 100 MeV of simulated energy and good beam transport.
S. Farina et al.
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
Beam Dynamics Simulations with ASTRA
With a higher power Klystron the structures would sustain larger fields making it possible to reach up to 130 MeV

## Slide 10
S. Farina et al.
‹#›
After the LINAC a 0.5 mm PEEK target is placed to increase transverse momentum. After 1 m We have a 10x10 cm beam.
LINAC exit
PEEK
Y [cm]
X [cm]
(Courtesy of G. Franciosini)
Beam Dose Profile - Large Field
-20 -10 0 10 20
X [cm]
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
S. Farina et al.
Beam Profile
Notes: ‹#›

## Slide 11
S. Farina et al.
‹#›
After the LINAC a 0.5 mm PEEK target is placed to increase transverse momentum. After 1 m We have a 10x10 cm beam.
LINAC exit
PEEK
Y [cm]
X [cm]
(Courtesy of G. Franciosini)
Beam Dose Profile - Large Field
-20 -10 0 10 20
X [cm]
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
S. Farina et al.
Beam Profile
(Courtesy of G. Franciosini)
With 100nC of MAX charge, the MAX dose per pulse is 4 Gy in 1 µs
Dose profile
6
4
2
0
Arbitrary units
Notes: ‹#›

## Slide 12
Beam Dose Profile - Pencil Beam Scanning
X [cm]
Y [cm]
6 x 6 cm Scanned surface
In 100 ms we can have 16 pencil beams and scan a wide surface with 0.15 T dipoles and 1 m drifts.
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
S. Farina et al.

## Slide 13
In 100 ms we can have 16 pencil beams and scan a wide surface with 0.15 T dipoles and 1 m drifts.
X [cm]
Y [cm]
6 x 6 cm Scanned surface
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
S. Farina et al.
Beam Dose Profile - Pencil Beam Scanning
-9
Dose profile
With 100nC of MAX charge, the MAX dose per pulse is 100 Gy in 1 µs
1.75
1.25
0.75
0.25
Arbitrary units

## Slide 14
Conclusions
The proposed strategy and layout guarantee VHEE electrons in a compact way optimising the minimal power.
Timing and transported charge are in the FLASH regime.
Beam dynamics simulations show that the beam has the desired features.
Initial study for the wide field implementation shows its feasibility in a relative compact way delivering 4.32 106 Gy/s.
Initial study for the pencil beam scanning gives the basic features for the required dipole fields. Considering the Max Charge per pulse the single PB can deliver up to 116 106 Gy/s.
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
S. Farina et al.

## Slide 15
Thank you for your attention!
VHEE 2025 15–17 set 2025 - STFC, Daresbury Laboratory
S. Farina et al.

## Slide 17
Short pencil beam (10 nC) with 20 MW @ 115 MeV Av. Energy

## Slide 18
Short pencil beam (10 nC) with 40 MW @ 115 MeV Av. Energy

## Slide 19
In the future we may feature a more powerful klystron @ 40 MW - Still the cavities can work at this regime Loaded Traveling wave cavity gradient 43 MV/m
Long pulse ( 1 µs )