## Slide 1: LHCb RICH 2008-2018
Antonis Papanestis
RAL

## Slide 2: RICH Detectors
Measures both the Cherenkov angle and the number of photoelectrons detected.
Can be used over particle identification over large surfaces.
Requires photodetectors with single photon identification capability.
Proximity focusing geometry

## Slide 3: The LHCb Experiment

## Slide 4: The original RICH detectors
Original RICH 1
RICH 2

## Slide 5: RICH 2 structure material

## Slide 6: RICH2 in LHCb pit

## Slide 7: HPD flow chart: anode part
Readout chip (IBM - F)
Detector chip (Canberra - B)
Ceramic carrier (Kyocera - JP)
Bump-bonding (VTT - FIN)
Brazing (DEP - NL) and gold-plating (CERN)
Packaging (HCM - F)
Wafer probing
Assembly probing
Anode testing
Visual inspection and plating control

## Slide 8: HPD flow chart: HPD tube part (DEP)
Tube body assembly
Photo-cathode deposition and vacuum sealing
Anode incoming inspection and testing
Anode testing
Final HPD testing
HPD cabling and potting
QE measurement and anode testing
Vacuum bake-out @ 300°C

## Slide 9: HPDs in the RICH

## Slide 10: How it all started (Sep 2007)

## Slide 11: June 2010

## Slide 12: October 2010 (i)

## Slide 13: October 2010 (ii)

## Slide 14: December 2010 (i)

## Slide 15: December 2010 (ii)

## Slide 16: December (2010)

## Slide 17: March 2011

## Slide 18: June 2011 (ii)

## Slide 19: June 2011 (i)

## Slide 20: June 2011 (iii)

## Slide 21: June 2011 (iv)

## Slide 22: June 2011 (v)

## Slide 23: September 2011 (i)

## Slide 24: September 2011 (ii)

## Slide 25: September 2011 (iii)

## Slide 26: December 2011 (i)

## Slide 27: HPD photocathode position
Automatic Online calibration for every run (max 1 hour)
One pixel

## Slide 28: December 2011 (ii)

## Slide 29: December 2011 (iii)

## Slide 30: March 2012

## Slide 31: June 2012

## Slide 32: September 2012 (i)

## Slide 33: September 2012 (ii)

## Slide 34: September 2012 (iii)

## Slide 35: September 2012 (iv)

## Slide 36: November 2012 (i)

## Slide 37: November 2012 (ii)

## Slide 38: March 2013 (i)

## Slide 39: March 2013 (ii)

## Slide 40: September 2013 (i)

## Slide 41: September 2013 (ii)

## Slide 42: September 2013 (iii)

## Slide 43: September 2014 (i)

## Slide 44: September 2014 (ii)

## Slide 45: December 2015 (i)

## Slide 46: December 2015 (ii)

## Slide 47: September 2016 (i)

## Slide 48: September 2016 (ii)

## Slide 49: September 2016 (iii)

## Slide 50: June 2017

## Slide 51: September 2017

## Slide 52: December 2017

## Slide 53: 2018 (i)

## Slide 54: 2018 (ii)

## Slide 55: SIN