## Slide 1: Direct measurement of 27Al(ɑ,p)30Si with TACTIC Annabelle Cyster1, Alison Laird1, Soham Chakraborty1 1University of York IOP Nuclear Physics Conference, Brighton 15th April 2026

## Slide 2: Outline
Introduction
TACTIC’s core components
μRWELL Micro Pattern Gaseous Detector (MPGD)
Recent measurement of 27Al(ɑ,p)30Si
First cross-section measurement, Nov 2022
Developments and future analysis
Notes: Change maroon border to be thinner

## Slide 3
Astrophysical motivation
Core collapse supernovae are critical for enriching the interstellar medium
The 27Al(ɑ,p)30Si reaction has been found important in constraining 56Ni abundances
Characteristic gamma rays from the decay of 56Ni can be observed
Cassiopeia A
Credit: JWST NirCam
Ratio of 44Ti to 56Ni production, with reaction sensitivity. Reaction 11 = 27Al(ɑ,p)30Si [4]
Notes: - an increase in the reaction rate decreases 56Ni yields.
-explain plot and importance of ratio!!
6Ni is produced in complete silicon burning under (near) NSE or QSE conditions.It dominates the iron-group yield and sets:the supernova light curve (via )
- an increase in the reaction rate decreases 56Ni yields.
-explain plot and importance of ratio!!
6Ni is produced in complete silicon burning under (near) NSE or QSE conditions.It dominates the iron-group yield and sets:the supernova light curve (via 〖^56〗Ni→^56 Co→^56 Fe)

## Slide 4: New measurement of 27Al(ɑ,p)30Si
Measurement of the ²⁷Al(α,p)³⁰Si reaction cross section in the Gamow window has never been experimentally performed
Predicted reaction cross sections for ²⁷Al(α,p)³⁰Si in ECM, calculated via Hauser-Feshbach models
Single measurement at ECM = 5 MeV with spectrograph,1959 [5]
ECM range measured
Gamow window
Gamow window calculated for T9 = 3 GK, corresponding to explosive Si burning

## Slide 5: Introduction to TACTIC
Annular
Chamber for
Tracking and
Identification of
Charged particles
TRIUMF
Thick target technique
Excitation function measured over entire energy range
Time-efficient measurement
Beam
Detection region
μRWELL
Entrance window
Reaction or scattering product
Target region
Exit collimator
𝜇RWELL
7
Cylindrical Active Target Time Projection Chamber
Schematic of TACTIC and principle of operation [1]
Notes: Summarise text. Too much
Add in animation so people know where to look
Direct measurements of alpha-induced charged-particle reactions, important for understanding nucleosynthesis in different cosmic environments
tracking and identification of the reaction products through differential energy loss
Less text below images

## Slide 6: Sector segmentation
Segmented into 8 sectors in ɸ
Split into upstream and downstream halves
60 readout pads in each sector
480 pads total
Schematic of TACTIC’s sector layout [1]

## Slide 7: Core components
Cathode cage enables high beam intensities, > 106pps
Most active target TPCs are rate-limited, ~105pps
Cathode cage structure [2]
μRWELL
Notes: Get rid of Al kapton window
Make animation for each section of slide

## Slide 8: The μRWELL MPGD
Diamond-Like Carbon layer (DLC)
Robust against electrical discharge
High gain in a single amplification stage (>104)
2D Readout capability
High-rate capability
Layout of μRWELL [3]
Notes: Highlight gain
Less text
To detect the reaction products over a wide range of energies (~10 keV to several MeV), the novel μRWELL (micro-Resistive WELL) detectors are used as the gas multiplication stage. First-ever μRWELL integration in cylindrical geometry

## Slide 9: First successful measurement
First successful cross-section measurement with TACTIC: November 2022
23Na(ɑ,p)26Mg reaction cross section in Gamow window
Cross sections measured with TACTIC [1] for the 23Na(ɑ,p)26Mg reaction and comparison with published cross sections
Experimental parameters
Beam particle: 23Na (6+)
Beam energy: 1.7 MeV/u
Target gas: He:CO2 90:10 1 bar
Beam intensity: 5.3 x106 pps
Run time: 3 hours
Geometrical efficiency: ~6.1% (with 1 sector implemented)

## Slide 10: Recent upgrades
Instrumented 6 TACTIC sectors, compared to 1 during 23Na(ɑ,p)26Mg measurement
Upgraded DAQ: Caen V2745 digitisers with zero suppression capability
Sectors implemented during S2442. Green denotes full sector, orange denotes ½ sector (downstream)
Notes: 125 MS/s ADCs

## Slide 11: Particle ID and vertex reconstruction
Beam species: 27Al (6+)
Beam energy: 1.65 MeV/u
Intensity: 5x105 -> 9x105 pps
Gas: 90:10 He:CO2 at 1 bar
Waveforms are recorded for pulse shape analysis:
Vertex reconstruction
Particle identification
Esummed vs Emax for protons and alphas. Multiplicity cut > 5, Energy threshold > 10 keV
Notes: - Key challenge is separating elastic scattering from reaction. Heavier ions deposit more energy. Seen here is a clear separation between reaction protons and elastic scattering

## Slide 12: Alpha source calibration
Source composition
144Gd - 3.27 MeV
230Th - 4.77 MeV
244Cm - 5.90 MeV
Triple alpha spectra, (a) pad 32, (b) pad 19. Multiplicity cut > 5, 50 keV threshold
E-∆E plots for triple alpha source, with multiplicity cut 5, and 50 keV threshold
Cathode cage
Signal
Emax
Source position
Notes: Gd – stops inside gas.

## Slide 13: Track visualisation
Assumptions
Straight tracks
Begin at R = 0 mm
Signals begin to form at R = 12 mm
Cathode cage, R=12 mm
μRWELL pad plane
R
Pad
Alpha Source
144Gd - 3.27 MeV
Notes: Remove black points
NPTool simulations of alpha source tracks showing energy deposition weighted tracks
The linear fit applied to the track can be used to determine the vertex position in Z

## Slide 14: Machine learning for PID
Train on simulation data → Extract feature importance
Apply to experimental data → simulation guides optimal cuts and PID strategy
Random forest classifier algorithm
Protons
Alphas
27Al(ɑ,p)30Si
pads pad_max pad_min E_sum E_max E_avg angle
angle E_avg E_max E_sum pad_min pad_max
Notes: Remove red and make new legend for blue/orange
Less text

## Slide 15: Summary
First measurement of astrophysically significant 27Al(ɑ,p)30Si within Gamow window at TRIUMF
Upgrades to TACTIC: implemented 6 sectors, digitiser update
Development of machine learning PID and analysis strategy for improved cross-section calculation

## Slide 16: Next steps
References
[1] Chakraborty, Soham (2023) Development of TACTIC: a novel detector for nuclear astrophysics. PhD thesis, University of York.
[2] L. Martin, TACTIC: the TRIUMF Annular Chamber for Tracking and Identification of Charged particles, PhD thesis (2015).
[3] G. Bencivenni et al 2019 JINST 14 P05014
[4] S. Subedi et al. APJ 2020
[5] Mohr, Peter. (2015). Cross sections of a-induced reactions for targets with masses A ~20-50 at low energies.
Testing in York nuclear physics labs ahead of TRIUMF 2027 measurements
Investigating the use of methane as a fill gas for (p,ɑ) measurements
Structural improvements: preamp mounts, end flange
Implementing Si end detectors to enhance the detection capabilities of recoils and protons significantly
Commissioning paper in progress
2 accepted experimental proposals for TRIUMF in 2027:
26Al(ɑ,p)29Si
17F(ɑ,p)20Ne

## Slide 17
Thank you for listening ☺ Annabelle Cyster Annabelle.cyster@york.ac.uk
Many thanks to my supervisors Alison Laird and Christian Diget, Soham Chakraborty, members of the York Nuclear Physics Group, and all collaborators at TRIUMF who took part in the experiment. Thanks also to Julien Bordes for his support with NPTool.

## Slide 18: Spare slides

## Slide 19: Random forest classifier algorithm
Train on NPTool simulation data → map observables to particle type
Extract feature importance → identifies which detector parameters drive PID (energy loss vs topology)
Use seaborn distributions → visualise separation between classes and correlations
Apply to experimental data→ same features used on real data, with simulation guiding optimal cuts and PID strategy

## Slide 20: Evolution of TACTIC
TACTIC developments began, 2007
Implementation of μRWELL MPGD as gas amplification stage
Successful cross section measurement of 23Na(ɑ,p)26Mg, 2022
Implemented new DAQ and 6 x sectors for first measurement of 27Al(ɑ,p)30Si in Gamow window, 2025
Development continues …
Gaseous Electron Multipliers (GEMs) were first mounted as the readout stage
Novel μRWELLs were employed as the gas amplification stage (year?)