## Slide 1: Medical Physics and Radiation Biology Research at PARTREC
Prof. Alexander Gerbershagen
Head of Particle Therapy Research Center (PARTREC, Groningen) Associate Professor (JAI, University of Oxford)
a.gerbershagen@umcg.nl, alex.gerbershagen@physics.ox.ac.uk

## Slide 2: Contents
Introduction:
  UMCG and PARTREC
  Our accelerator
  Our team, services and users
Research at PARTREC
  Previous research
    Clinical Translation Example
    Minibeams
  Ongoing projects
    Boron Proton Capture + FLASH
    Theranostics
    Pharmacotherapy
    Dose Verification
N2 gas
thin foil
mbar

## Slide 3: Contents
Introduction:
  UMCG and PARTREC
  Our accelerator
  Our team, services and users
Research at PARTREC
  Previous research
    Clinical Translation Example
    Minibeams
  Ongoing projects
    Boron Proton Capture + FLASH
    Theranostics
    Pharmacotherapy
    Dose Verification
N2 gas
thin foil
mbar

## Slide 4
First patient in 2018
Integrated with Medical Faculty of University of Groningen
Integrated into UMCG in 2019
Clinical production
of radio-isotopes

## Slide 5: AGOR Cyclotron
Superconducting AGOR cyclotron is a multi-particle, variable energy AVF-cyclotron
French-Dutch collaboration built 1987 – 1994
Operational since 1996
Magnetic field (1.7 to 4.1 T) produced by
  Two pairs of superconducting main coils
  fifteen trim coils
  three iron hill sectors for focussing
3 halfwave RF cavities, 24 - 62 MHz; h = 2, 3 or 4
Three external ion sources (two ECR sources for protons and heavy ions, multi-cusp source for light ions) are axially injected
Extraction
  300 - 500 turns depending on harmonic mode
  extraction radius 870 - 890 mm depending on E/A
  turn separation at extraction 2 - 3 mm ~ beamwidth

## Slide 6: Beams and Test Rooms
AGOR can deliver beams of all elements up to Xe
Accelerator (AGOR)
Experimental Room (H-cell)
Nuclear physics experiment (NEXT)
New animal facility IMPACT (A-cell)
Large in-vacuum irradiation setup

## Slide 7: IMPACT Beam Line
>3 MEUR grant from KWF
Designed for small animals
New beam line
  Pencil beam scanning (10 cm x 10 cm)
  Shoot-through or SOBP
  Collimator for penumbra
Combined on-line 3D X-ray imager and X-ray irradiator
Irradiation planning
First beam: 04.10.2024
Fully operational: March 2026

## Slide 8: Our Team
Faculty (4)
Post-doc, PhD-students (~10)
Technical staff (25)
  Operators
  Experimental and project support
  Cryogenics, cooling and vacuum
  Design/Mechanical
  Electronics
  IT Support
Operational 120 hours/week, 26 weeks/year
Users: Medical Physics, Radiobiology, ESA, Detectors, Commercial
Beam requests: irradiations.partrec@umcg.nl

## Slide 9: One Stop Shop
Experiment development
Ethics authorisation process
Animal procurement logistics
On site animal accommodation with IVCs
  capacity 200 rats and mice
  no long term stay
  two additional accommodations planned
“Twin Beam” Irradiation
Laboratory for animal handling prior and post irradiation
  GronSAI imaging center: optical, molecular, CT, MRI, PET
Data management facilities

## Slide 10: Contents
Introduction:
  UMCG and PARTREC
  Our accelerator
  Our team, services and users
Research at PARTREC
  Previous research
    Clinical Translation Example
    Minibeams
  Ongoing projects
    Boron Proton Capture + FLASH
    Theranostics
    Pharmacotherapy
    Dose Verification
N2 gas
thin foil
mbar

## Slide 11: Stem cell sparing radiotherapy
van Luijk et al. Sci. Trans. Med 2015
Steenbakkers et al. IJROB 2022
Center
Outside
Outside
Outside
Stem cell region
Rat model
Patients
Centre of the glands is rich in organ-specific stem cells.
Irradiation of this sub-volume results in degeneration of the entire gland.
Irradiation of the other parts only causes local damage
Retrospective analysis of a Canadian patient cohort
  dose to the centre of the gland is the best predictor of post-treatment saliva production.
Validated in a trial at UMCG.
Currently implemented as the standard approach to minimize the risk of radiation-induced xerostomia in patients

## Slide 12: Spinal cord: inhomogeneous dose distribution
Bijl et al. Int J Radiat Oncol Biol Phys. 2003
46 Gy
42 Gy
25 Gy
ED50:
Volume-Effect ? Configuration determines outcome
(1x 4 mm: ED50=53 Gy)
=> 2 x 4  8

## Slide 13: Spinal cord: include repair in model
Damaging dose
Non-damaging dose, still disabling repair
brain
C1
C2
C3
C4
C5
C6
C7
T1
T2
brain
C1
C2
C3
C4
C5
C6
C7
T1
T2
brain
C1
C2
C3
C4
C5
C6
C7
T1
T2
brain
C1
C2
C3
C4
C5
C6
C7
T1
T2
van Luijk et al. Int J Radiat Oncol Biol Phys. 2005
migrating cells
=> repair
damaged volume decreases
“diffusion length”
=> large impact on small irradiated volumes

## Slide 14: Contents
Introduction:
  UMCG and PARTREC
  Our accelerator
  Our team, services and users
Research at PARTREC
  Previous research
    Clinical Translation Example
    Minibeams
  Ongoing projects
    Boron Proton Capture + FLASH
    Theranostics
    Pharmacotherapy
    Dose Verification
N2 gas
thin foil
mbar

## Slide 15: NuCapCure
Consortium of eight parties
Goal: Treat Glioblastoma (presently <10% 5-year survival)
Envisaged radiation effect:
  Higher in tumour due to boron proton capture
  Lower in healthy tissue due to FLASH
> 5 MEUR from EIC Pathfinder Open 2023
Ranked 1st (788 proposals submitted, 56 funded)

## Slide 16: Terbium Theranostics
>10 MEUR grant from IPCEI
Produce four Terbium isotopes for patient diagnostics and treatment
Partners: SHINE, UMCG

## Slide 17: Image-Guided Pharmacotherapy
18 MEUR grant from HTRIC x UEF
Proposal headed by Prof. Ben Feringa, Nobel prize laureate

## Slide 18: Real-time In-vivo VERification of proton therapy (RIVER)
Aim: “reducing treatment planning safety margins without reducing treatment safety”
How ?
PET imaging of the short-lived isotope N-12 (T1/2 = 11 ms)
Range determination per pencil beam spot
Patient benefit
reduced safety margins lead to
less dose to organs-at-risk
  less complications
    better quality of life
Research focus
experiments with a head phantom
mimic clinical workflow from TPS via Monte Carlo prediction to comparison with experimental PET images
experiments at PARTREC
N-12 production cross section
calculations/simulations
N-12 production in RayStation
PET imaging in GATE
N-12 image in 10 s (1010 protons)
anthropomorphic
head phantom

## Slide 19: Summary
UMCG has unique combination of treatment facility (GPTC) and research center accelerator facility (PARTREC)
PARTREC delivers protons and ions (He, C, O and others)
PARTREC has team of 40 people
Ongoing research topics are:
  Radiation Biology, Microdosimetry, Minibeams, Ultra-fast Irradiations, Gantries, Patient Imaging, Nuclear Medicine
Acknowledgement
  Research funding
  Access funding
  Host institutions and all colleagues for contributing
medical physics cell cultures (animals)
animals
Prof. Alexander Gerbershagen
Head of Particle Therapy Research Center (PARTREC)
a.gerbershagen@umcg.nl