## Slide 1: Translating Innovative Radiotherapy Technology into Clinical Practice
Rock Mackie, PhD
Emeritus Professor
UW-Madison
UW-Madison Is on the Shores of Lake Mendota

## Slide 2
I am a board member and investor in Shine Medical TechnologiesTM, a company developing a new technology for high specific activity medical radioisotopes.
I am a co-founder of Asto CTTM, a company developing an equine CT scanner. I am Chairman of the Board of Directors, and have ownership in the company.
I am a board member and investor in Leo Cancer CareTM, a company developing an upright radiotherapy system for proton and x-ray radiotherapy. I am Chairman of the Board of Directors and have ownership in the company.
I am an investor in ImageMoverMDTM, a medical image connectivity solution company.
I am an investor in OncoraTM, a company developing predictive analytics for radiation oncology.
Disclosure and Potential
Conflicts of Interest Statement

## Slide 3
Geometrics
(Pinnacle RTP)
TomoTherapy
CPAC
Leo Cancer Care
Radiotherapy Technologies I Have Co-founded

## Slide 4: University of Wisconsin Medical Physics Dept. Spin-Offs
Lunar Corporation
(Now GE)
Bone Care
Radiation
Measurements
Inc.
(Now Sun Nuclear)
Advanced
Medical
Publishing
Medical
Physics
Publishing
Corporation
Geometrics
(Now Philips Medical)
TomoTherapy
(Now Accuray)
Ultravisual
(Now IBM)
Standard
Imaging
Medical
Physics
Foundation
Mazess
Fellowship
For-Profit
Not-For-Profit
Foundation
OnLume
CPAC
Novashield
Sonic Foundry
HealthMyne
Asto CT
WiSolve
Medical
Engineering
Innovations
ImageMover
Thervoyant
AIQ
Voximetry
Leo Cancer Care
Notes: University of Wisconsin, Department of Medical Physics academic spin-off companies as well as the creation of other companies in the Madison Metro area from their faculty founders (continuous lines) or executives (dashed lines). Lunar Corporation developed the first bone mineral density scans. Radiation Measurements Inc and Standard Imaging produce quality assurance products for radiation oncology and radiology. Geometrics produced the Pinnacle radiation oncology treatment planning systems which is used on about one million patients per year worldwide. TomoTherapy pioneered rotational intensity modulated radiotherapy and CT image guided therapy. Many of these companies are now owned by multinational public corporations but still operate in Madison WI. Most of these companies employed Medical Physics trainees and former staff members. Not shown is General Electric Medical Systems, Shine Medical Technologies and Phoenix Nuclear Laboratories which also employ our trainees but were not founded by Medical Physics faculty.

## Slide 5
The University is the Mine
The Company is the Mill
Breakthrough ideas tend to come from academia and get implemented and refined in a company.
Role of Academia and Industry
A mill won’t last long if there is no mine, but a mill is required to get the product to market.

## Slide 6
Who Are the Most Entrepreneurial Faculty in a University?
Business School Faculty?
Life Sciences Faculty?
Engineers?
Medical Researchers?
Fine Arts Faculty?
Rare
100%

## Slide 7
History of US Research Funding 1953-2015
Cold War Peak
Cold War ”Over”
At Cold War Peak, 70% of R&D was Funded by the US Federal Government
Today about 75% of R&D is Funded by Industry
Don’t look to Governments for Clinical Development

## Slide 8: Regulatory Approval, Market Release and Post Market Surveillance Requires a Company
Substantial Equivalency
Medical devices can receive a designation of “substantial equivalency” if there are is no new biology/medicine to prove and obviate the need for the clinical trial phase.

## Slide 9
Formulate hypotheses and concentrate on tests that falsify the hypotheses (Karl Popper’s Falsifiability Principle)
In medicine, and other applied sciences, the hypotheses revolve around:
  Works better (better outcomes like fewer complications)
  Cost (less) or reimbursement (more)
  Easier to use (less complicated or less prone to error)
Two out of three (e.g., better and easier to use) could be disruptive.
Three out of three always is disruptive.
Innovations, especially disruptive ones at first, run up against:
  “We have always done it this way.”
How To Judge Innovations?

## Slide 10
“We Have Always Done It This Way”
Music player, data storage, camera, fax, game player, internet browser, pager, telephone, etc., …
A Cell Phone Cannot Replace All Features but
Expands Horizons

## Slide 11
Flow Chart for Company Formation
Identify an important problem.
Arrive at a technical solution to the problem and see if there is a patent or the solution is known.
If there isn’t, file a patent.
Will sufficient customers like your solution?
Do investors like your business plan?
Protect Intellectual
Property
Test Business Plan With Customers
Get Investment
Develop a Solution
Identify a Problem

## Slide 12: Startup Scenario for Geometrics
Problem to Solve: First FDA Cleared 3D CT-based radiation therapy treatment planning (RTP).
Solution: Convert university-backed stereotactic radiosurgery system to general RTP and get FDA clearance.
IP Protection: Copyright on source code.
Customers Consulted: Only UW-Madison medical physicists and radiation oncologists.
Investor: Adac Corp. supplied advance against royalties (like a book deal).
How’s It Going?: Sold at a fraction of its value to Adac who named it Pinnacle3 and then Adac sold to Philips Medical. Hundreds of thousands of patients per year had Pinnacle3 plans at the peak of use. Withdrawn from market in 2021 after 25 yrs.

## Slide 13: Startup Scenario for TomoTherapy
Problem to Solve: Develop an IMRT and IGRT workhorse machine.
Solution: Helical tomotherapy (fan beam IMRT) and CT system.
IP Protection: University technology transfer organization, Wisconsin Alumni Research Foundation (WARF).
Customers Consulted: Previous tomotherapy customers (NOMOS serial tomotherapy).
Investor: Mainly Wisconsin investors including WARF.
How’s It Going?: TomoTherapy did an ~ $ 1 billion IPO in 2007 and merged with Accuray in 2011. >100,000 patients/yr are treated with this technology.

## Slide 14
UPRIGHT POSITIONING
An Upright Positioning System Treating from Head to Thigh
FAN BEAM CT
A Dual-Energy CT Capable Of Imaging Head & Neck, Breast & Lung, Prostate
Marie®
Enabling Technology for Upright Radiotherapy

## Slide 15
Comfort, Stability and Faster to Setup
SEAT PAN
SHIN REST
BACKREST
HEEL STOP
Muscles Relax and Hard to Move Around

## Slide 16
Mevion Fit® 250 MeV Proton Beam
in A Photon Vault
Leo Grace® 6 MV FFF Photon Beam
Make Proton Beams Seem Like Photon Beams

## Slide 17
Leo Marie® in a Theryq Vault
Theryq High-Energy Electron Beamline
Much Easier to Advance New Treatment Modalities Like Flash Radiotherapy

## Slide 18: UPRIGHT PHOTON BEAM ROTATION PLANNING IN RAYSTATION
Helical treatments
3 Revolutions, collimator angle 10 degrees
Similar plan quality as 3 VMAT beams with different isocenters

## Slide 19: Startup Scenario for Leo Cancer Care
Problems to Solve: Lower cost, usually better posture, easier to setup, higher throughput.
Solution: Design upright positioning system with multiple postures and a CT scanner that can scan in treatment position.
IP Protection: Company patents.
Customers Consulted: Customers that could not afford particle therapy who wanted an opportunity to cut cost by half.
Investors: Global investors.
How’s It Going?: Proton RT sales, FDA cleared, photon version launched.
SEAT
PAN
SHIN REST
BACKREST
HEEL
STOP

## Slide 20
Size and cost limits patient access.
Need to put protons into a photon vault – few clinics can afford new construction, and nobody wants a three-story vault.
Uncertainty in proton dose distributions and lack of good image verification means that it is not a yet a universal solution for radiotherapy.
Particle radiotherapy can be made better but there is little coordinated demand like there was for 3D planning or IMRT because the gain in therapeutic ratio is not commensurate with cost.
The Problems with Particles

## Slide 21
*Lawrence Livermore National Laboratory, Livermore CA
Dielectric Wall Accelerator* (DWA)
Proton Source
High
Gradient
Insulator
Stack of Blumleins
SiC Optical Switches
Monitor
Focusing
Laser
Optical Coupling

## Slide 22: Compact Particle Accelerator Corporation (CPAC) Licensed the DWA from Livermore
Cooperative research and development agreement between CPAC and Lawrence Livermore

## Slide 23: Major Lessons Learned from CPAC
Technology licensed from LLNL was not beyond the research stage.
Cree, the maker of the world’s best SiC got busy with the consumer diode business and decided not to address the high-voltage potential of the material.
2010
2015
0
20
40
60
80
100
Cree Share Price ($)
Interest
Disinterest
Source: Google Finance

## Slide 24: Patient Positioning System
Laser system
Interchangeable Robotic Couch and Chair
6 Degrees of freedom
Anti-collision System
Ocular setup for chair
Integrated with delivery system
Tolerances for SRS
Standard immobilization device attachment

## Slide 25: Startup Scenario for CPAC
Problem to Solve: Cost of particle therapy too high so make the accelerator less expensive.
Solution: Develop a compact particle accelerator with a high energy gradient.
IP Protection: Lawrence Livermore National Laboratory, California.
Customers Consulted: A few proton customers.
Investor: TomoTherapy and some of their investors.
How’s It Going?: The Livermore science was immature (license when only the scaleup engineering is left). The high voltages switches failed to work as anticipated and the company went bankrupt. Don’t rely on one supplier for a critical component.

## Slide 26
  Wakefield/Laser Accelerators
  Dielectric Wall Accelerators
Target
Electron cloud creates
intense electric field
Laser Beam
Blow off
plasma
Fast protons
Not Promising to Lower Cost
Use a short laser pulse to ionize a target with high Z and hydrogen
Large energy and angular distribution
Generate a high gradient in an accelerator with fast acting switches
The switch lifetime is too short
Courtesy Richard Maughn, University of Pennsylvania
Difficult Research Directions

## Slide 27
EMMA,
Daresbury Laboratory, U.K.
PAC ns-FFAG design is a compact accelerator producing variable–energy ~DC beam up to 330-MeV for proton and 430 MeV/nucleon for ion therapy
Evolution of the Fixed-Field Alternating Gradient (FFAG) Accelerator
< 3 m
< 5 m
70 - 430 MeV/nucleon Ion FFAG
PAC
Particle Accelerator Corp
Adapted from Carol Johnson, FermiLab
World’s first ns-FFAG
Simultaneously invented by Tihiro Ohkawa in Japan, Keith Symon at the UW-Madison and Andrei Kolomensky in the USSR in 1950’s. The most intensive early studies were carried out by Symon, Donald Kerst and others at the UW-Madison.

## Slide 28: Take Away Thoughts
Breakthrough technologies come from academia.
The most important problem is finding a big enough problem to solve.
The big problems to solve and their solutions are only obvious in hindsight.
Ask enough potential customers if your problem and solution are viable.
Don’t expect government, including national labs, to fully fund non-military development projects.
Companies are required to get regulatory clearance.
Will find a market if the product is less costly, better, and easier to use.
It takes a community.