## Slide 1: Ceph at Lancaster University
Matt Doidge, Gerard Hand, Steven Simpson, Peter Love
g.hand@lancaster.ac.uk

## Slide 2: Configuration
Ceph Squid 19.2.3
12.2PB Raw
5 MON+MGR
32 OSD nodes (768 OSD Daemons)
2 MDS - 1Active, 1 Standby - 8+3 EC
6 XRootD nodes
332 Compute nodes
Monitoring: Grafana, Prometheus, Loki
OSD Node Configuration
2 x 1.6TB NVMe to hold OSD BlueStore.
Each NVMe holds the BlueStore for half the HDDs.
Not using RAID reduces NVMe wear (25% of RAID)
Downside: No redundancy when NVMe fails so half an OSD node lost.
1 NVMe failure in 4.5 years.
g.hand@lancaster.ac.uk

## Slide 3: Observations
Versions used: Pacific, Reef, Squid.
Pacific was stable:
  Scrubbing Problems
Reef proved to be problematic:
  Slow OSD Ops
  Orchestration crashing
  Poor mClock performance. Recovery rates of 1 Obj/s. Enable osd_mclock_override_recovery_settings to improve performance.
  Permission problems on crash directories.
Squid more stable but not perfect.
  Occasional MON crashes - 100% memory usage, Machine lockup.
  mClock does a better job of balancing client data, backfill/recovery, scrubbing but still room for improvement. Occasionally using osd_mclock_override_recovery_settings to increase backfill/recovery when low client transfer load.
  PGs stuck in scrubbing state.
Ceph has proved to be resilient. A data centre power cut causing overheating and uncontrolled shutdown of machines resulted in 2 damaged ceph objects.
g.hand@lancaster.ac.uk