## Slide 1: Target & Cryogenic Moderator Thermocouples & Instrumentation
General Overview
Raj Gupta
June 2026

## Slide 2: Target & Cryogenic Moderators Thermocouples
Type K to measure Target and Cooling water temperature
Above Liquid Nitrogen temperature COTS Converter
Type E to measure Cryogenic Moderators temperature
Below liquid Nitrogen temperature, mV measurement Converter

## Slide 3: Target Thermocouples

## Slide 4: Target Thermocouple Instrumentation

## Slide 5: Hydrogen Moderator Temperature Measurement

## Slide 6: PR5114 CH1

## Slide 7: PR5114 CH2

## Slide 8: Hydrogen Moderator Thermocouple Measurement

## Slide 9: Type E Temperature Vs mV

## Slide 10: Issue We Encountered
Inaccuracy introduced by temperature gradient at unintended Junction due to door feed through
01
Inaccurate measurement of the junction temperature at the Converter terminals (PR5114)
02

## Slide 11
Measure the inaccuracy caused by temperature gradient at unintended Junction

## Slide 12
Optimize/Find the best place to measure the Junction Temperature

## Slide 13
Thank You