## Slide 1
ALLECTRA DOOR FLANGE. WELDABLE D-SUB SOCKET
VOID VESSEL He SIDE
AIR SIDE
REMOTE HANDLING PLUG. CONSISTS OF A BURNDY CERAMIC PLUG. DISCONNECTED TWICE A YEAR FOR MODERATOR CHANGE.
SACRIFICIAL CONNECTOR, D-SUB PLUG TO DOOR FLANGE. CERAMIC BURNDY SOCKET TO REMOTE PLUG
CERAMIC 19 PIN BURNDY SOCKET.
3 POINT LOCATION PINS
CERAMIC 25 WAY D-SUB PLUG
CABLE CLAMP FOR LOOM
CABLE CLAMP FOR MODERATOR THERMOCOUPLES
ISIS TRaM REMOTE THERMOCOUPLE PLUG ASSY
CERAMIC 19 PIN BURNDY PLUG.

## Slide 2
Alu PBW
Alu / Stain Friction Joint
Copper Collimator
Void Vessel
He
EPB Vac
Profile Monitor
EPB Tube Clamp
EPB Tube
Proton Beam
Proton Beam Window Clamp
Monitor Clamp
Assembly breaks down into 3 component parts
EPB Tube + Beam Profile Monitor + EPB Window Assembly
Clamp support hooks
Copper collimator
The seals are assembled to the replacement components
using location tabs.
The clamps are replaced with each window change.

## Slide 3
We have managed to reseal helicon flex seals after initial clamping. We normally replace.
We apply a small amount of copper slip grease to the clamp thread. We have had some of the smaller clamps seize. The thread had to be cut to release.
Note the orientation of the clamp. The direction of the thread to tighten can reverse due to orientation of the clamp. We have sheared nuts off due to tightening rather than releasing.
Clamps and seals are obtained from Technectics.

## Slide 4
ISIS CRYO TRANSFERLINE CONNECTIONS
8 BAR CRYO CONNECTION
TECHNECTIC HELICOFLEX SEAL
HN-208-ABK-75.20-88.50-2.80-ARGENT.
QUICK DISCONNECT COLLAR 300 RH87SP CLAMP
MODERATOR
COLDBOX
BLANKET VACUUM LINK PIPE
STFC DESIGNED
REMOTE HANDLING
KF16 VAC CLAMP
VAC CLAMP SUPPORT CRADLE
ALU \ BRONZE
JAWS
ALU 1030
KNIFE EDGE
Kf16 VAC SEALS
STANLESS 304 CLAMP
SCREWS
STAINLESS
COMPRESSION SPRINGS