## Slide 1: Instrument Development & Fluka
Robert Dalgliesh
2nd June 2026

## Slide 2: Instrument Development Requirements (Time-of-Flight)
TOF Instrument Design
  Lots of trade offs to consider
    Simultaneous wavelength band
    Wavelength resolution requirements
    Angular acceptance at the sample.
    Detector resolution requirements
    Flux on sample
    Potential backgrounds
    Source structure

## Slide 3: Instrument Development Requirements (Time-of-Flight)
Neutron Pulse Structure
  Accurate reconstruction of neutron T0 from the point of emission.
  Flux at sample as a function of wavelength. (n/s/cm2)
  Wavelength Resolution
    Accurate prediction of pulse shapes as a function of wavelength
  Accurate simulation all wavelength/energies.
  Detector resolution requirements
    Combination of multiple considerations

## Slide 4: Instrument Development Requirements (Time-of-Flight)
Angular acceptance.
  Depends on the instrument design
  Upstream collimation limiting the accepted divergence can be very limiting (SANS <0.2deg)
    How can this be calculated efficiently
  Low dimension moderators
    What are the effects of misalignment?
    Needs a structured source file
Herb et al. 10.1016/j.nima.2022.167154

## Slide 5: Instrument Development Requirements (Time-of-Flight)
Potential Backgrounds
  Fast Neutrons
  Activated components (moderators)
    Continuous fast neutron backgrounds on straight guide instruments
  Activated Gamma sources along the beamline
  Air scatter
  Optics and collimation misalignment
PolRef