## Slide 1
Superconducting RF for Colliders
Peter McIntosh
STFC Daresbury Laboratory
Advanced RF UK community meeting
7th June 2021
Notes: The abstract pattern can be removed or repositioned if required. Be careful to ‘Send to Back’ so that it does not obscure any important information.

## Slide 2
1 International Linear Collider (ILC)
2 High Luminosity LHC (HL-LHC)
3 Future Circular Collider (FCC)
4 Electron Ion Collider (EIC)
5 SRF Infrastructure
6 UK Industry SRF Developments
7 UK Opportunities and Conclusions
Agenda
Notes: PLEASE DELETE/REPLACE PHOTO CREDIT IF CHANGING THE IMAGE.

## Slide 3: ILC Crab Cavity (2004 - 2010)
3.9 GHz Single-cell
ILC Crab Cavities

## Slide 4: ILC Crab System Verification
ILC crab cavity zero crossings need synchronisation to 94 fs for 2 % luminosity loss budget.
Independent phase lock for both cavities:
  Target  0.100o r.m.s.
  Locked  0.080o r.m.s.
Performance fundamentally limited by the RF source.
4

## Slide 5
HL-LHC Crab Cavity Cryomodule
(2010-2025)
LHC luminosity upgrade will utilise local crab cavities at the detector IPs to increase Luminosity performance.
Beam separation at IP is however very restrictive – needs to be transversely compact.
Low frequency required (400 MHz) due to 7.5 cm bunch length.
LHC Beam Separation at IP
UK 4-Rod Cavity Design
Unfortunately not selected for
HL-LHC

## Slide 6
First prototype cryomodule (RFD) tests completed on SPS in mid 2018.
First ever evaluation of crab cavities with a proton beam!
A 2-cavity pre-series RFD cryomodule design being developed and manufactured at Daresbury (2021).
STFC also providing 4 production DQW cryomodules for installation during LHC LS3 (2024-25).
HL-LHC CC Cryomodule
DQW
RFD

## Slide 7
Assembly Area at DL
Magnet Test Lab
Alignment Area
ISO4 Cleanroom extended to 6m
Cavity String Lifter Design Complete
HL-LHC CC Cryomodule Assembly Facility @ DL

## Slide 8
HL-LHC RFD CC Cryomodule Design
Leading UK contributions

## Slide 9
RFD Cold Magnetic Shields
STFC designed & issued to CERN in Apr16 (SPS Prototype).
Cavity design changed, shield designs required revision.
New Parts
Modified Parts
Unchanged
HL-LHC CC Cryomodule
Warm Magnetic Shields
Thermal Shields
Al1100 panels give significant cost & weight savings for series production
SS316 Cooling circuit for cryoline integration & pressure safety.

## Slide 10
First HL-LHC CC Test on SPS – May 2018

## Slide 11: UK Crab Expertise
ILC v2
FCC
EIC
HL-LHC (Production)
2021 2040
ILC CC
2008
HL-LHC (Prototype)
CLIC
VELA
2004 2020

## Slide 12: The ILC SRF Linac (>2022)
250 GeV ILC CoM | 
Frequency (GHz) | 1.3
Cavity Gradient (MV/m) | 31.5
Q Factor | >1010
Cryomodule length (m) | 12.65
Number of Cavities | ~8000
Number of Cryomodules | ~900
Eu-XFEL
1.3
23.6
>1010
12.65
800
100
N2-doping
possibility to increase ILC performance even further!
2-cavity Crab Cryomodule

## Slide 13: FCC SRF Challenges
Low impedance deflecting cavities (hh)
FPC 1 MW CW with variable coupling
High Efficiency Power Sources
Multi-purpose flexible cryomodules
Innovative fabrication techniques (Hydroforming, Spinning, SRF coatings) (ee)
Cavity performance (N-doping, baking, Thin films, A15’s)
HOM Damping, Heating and Impedance
Is a harmonic system required?

## Slide 14: FCC SRF Challenges
Low impedance deflecting cavities (hh) – UK Expertise
FPC 1 MW CW with variable coupling
High Efficiency Power Sources – UK Involved
Multi-purpose flexible cryomodules – UK Expertise
Innovative fabrication techniques (Hydroforming, Spinning, SRF coatings) (ee) – UK Involved
Cavity performance (N-doping, baking, Thin films, A15’s) – UK Involved
HOM Damping, Heating and Impedance – UK Expertise
Is a harmonic system required? – UK Expertise

## Slide 15: FCC-hh Crab cavity
Wide Open Waveguide (WOW) Cavity

## Slide 16: EIC RF Systems
Electron - 591 MHz electron storage cavity
Electron - 1773 MHz 3rd harmonic cavity
Hadron Cooling - 591 MHz acceleration cavity
Rapid Cycling Synchrotron - 591 MHz acceleration cavity
Hadron - 591 MHz bunch compression cavity
Hadron – 24.5 MHz acceleration cavity
Both rings – 400 MHz crab cavity
Hadron – 49.2 MHz and 98.5 MHz bunch splitter cavity
Injector - 571 MHz bunch compression cavity
Hadron - 197 MHz bunch compression cavity

## Slide 17: EIC Crab Cavity Systems
eRHIC RF system | RF sub system | Freq [MHz] | Type | Location | # of Cavities
Electron Storage Ring | Fundamental | 591 | SRF, 2-cell | IR-10 | 14
 | Third Harmonic | 1773 | SRF, 1-cell | IR-10 | 5
Rapid Cycling Synchrotron | Fundamental | 591 | SRF, 5-cell | IR-10 | 3
Pre-Injection LINAC | Bunch Compression 1 | 114 | Copper, capacitor loaded | IR-2 | 1
 | Bunch Compression 2 | 571 | Copper, 1-cell | IR-2 | 1
 | 400 MHz LINAC | 2856 | SLAC type LINAC | IR-2 | 8 x 3m sections
Hadron Ring | Capture/Acceleration | 24.6 | Copper, Quarter Wave | IR-4 | 2
 | Bunch Splitter 1 | 49.2 | Copper, Quarter Wave | IR-4 | 2
 | Bunch Splitter 2 | 98.5 | Copper, Quarter Wave | IR-4 | 2
 | Bunch Compression 1 | 197 | Copper, 1-cell | IR-4 | 12
 | Bunch Compression 2 | 591 | SRF, 5-cell | IR-10 | 2
Crab Cavity | Hadron | 394 | SRF, Double Quarter Wave | IR-6 | 8
 | Electron | 394 | SRF, Double Quarter Wave | IR-6 | 2
Hadron Cooling | SRF Booster | 118 | SRF, Quarter Wave | IR-2 | 2
 | Bunch Compression | 591 | Copper, 1-cell | IR-2 | 1
 | Fundamental | 591 | SRF, 5-cell | IR-2 | 9
 | Third Harmonic | 1773 | SRF, 5-cell | IR-2 | 2

## Slide 18: EIC Crab Cavity
Two frequencies 394 and 197 MHz.
US are evaluating the possibility to open the beampipe port of the cavity to damp HOMs by propagating to external absorbers.
HOM ports/couplers can be eliminated, using SiC absorbers outside the cryomodule instead (same as ESR cavities for example).
Considering using 320mm ID beampipe, with TE11 cutoff at 549 MHz and TM01 cutoff at 717MHz.
  All HOM frequencies need to be above these numbers.

## Slide 19
1
2
3
4
SuRFLab Test Facility for ESS
Cryogenic Insert
(x2)
Cryo Liquefier
Test Bunker
Cleanroom/HPR
Finalising commissioning, validated with prototype (2) and Pre-Series (4) cavities.
Cavity Manufacture
Manufactured 40 cavities (45%):
32 DL, 8 DESY
Testing
13 have been tested
  7 DL, 6 DESY
5 meet ESS specifications, 7 (most recent) require reprocessing/test:
      Being evaluated with vendor.
First UK HB Cavity issued to CEA in Mar21!
SRF Cavity Testing @ Daresbury
Notes: Replace this guidance text with your own bullet pointed content.
For further guidance please see https://www.bdadyslexia.org.uk/advice/employers/creating-a-dyslexia-friendly-workplace/dyslexia-friendly-style-guide

## Slide 20
HB650 Cavity
HB650 Cryomodule
5-cell high-purity
Niobium cavity
Helium jacket
Tuner
Coupler interface
UK Delivery of PIP-II HB650 Cryomodules
Cryomodule (CM) | PIP-II
Operating Temperature (K) | 2
Number of Cavities | 6
Energy Gain (MeV) | ~110
Dynamic Load (W) | 130
Static Load (W) | 32
CM Length (m) | 9.8
Number of Cryomodules | 3
Cavity | PIP-II
Frequency (MHz) | 650
Cavity Beta | 0.92
Gradient (MV/m) | 19.9
Quality Factor Qo | 3 x 1010 (N2 Doped)
Number of Cells | 5
Cavity Dynamic Load (W) | <22
Cavity Length (m) | 1.42
Number of Cavities | 18 (+2)

## Slide 21: SRF Infrastructure Evolution Superconducting RF Lab (SuRFLab) – PIP-II
String to support & shields
Outer vessel integration
ISO4
Cavity string assembly

## Slide 22
Courtesy: P Kniesel (Jlab) – 31/1/2011
Multipacting
(15 – 17 MV/m)
STFC Innovations (Mini-IPS) funded activity with Shakespeare Engineering (UK) to fabricate a single-cell 1.3 GHz validation structure in Dec 2010.
3 cavities fabricated:
  #01 BCP processed/tested at Jlab.
  #03 EP processed/tumbled at FNAL.
First bulk Niobium SRF cavities to have ever been fabricated* in the UK!
* Except for EBW!
UK Industry SRF Development (2010 - 2013)

## Slide 23
The Welding Institute
Demonstrate successful EBW of SRF cavities:
  Demo-1: 2-cell 1.3 GHz and
  Demo-2: PIP-II Demonstrator
NAMRC
All EBW tooling
Demonstration of Nb - NbTi EBW processes.
Shakespeare Engineering
Pressing, machining and manufacture of all cavity components.
Tuning and dimensional verification of all components.
2-cell 1.3GHz test cavity
PIP-II 650MHz cavity demonstrator
UK Industry SRF Development (2019 – 2022)
PIP-II – 650MHz high beta cavity
All manufacture, including
EBW to be performed in UK!

## Slide 24: UK Opportunities & Conclusions
Since 2004, UK developed leading role in SRF crab cavity and cryomodule developments.
  ILC (2008) design and validation completed for TDR.
  HL-LHC, key role in pCM development and test on SPS in 2018.
  HL-LHC delivering pre-series CM in 2021 and production CMs for installation in 2025.
Building UK industry in SRF cavity manufacture.
UK cavity testing and cryomodule integration capability at Daresbury is significantly strengthening (ESS & PIP-II).
Strong UK opportunities now exist for:
  250 GeV ILC post-2022 – Crab Cavities and Main Linac SRF systems
  EIC – Crab cavities at either 197 MHz or 394 MHz
  FCC – Crab cavities, SRF thin-films
Collaborative plans are currently under development!

## Slide 25
Thank You
Facebook: Science and Technology Facilities Council
Twitter:@STFC_matters
YouTube: Science and Technology Facilities Council