## Slide 1: Fixed Tunes Fast Cycling FFA Synchrotrons Dejan Trbojevic - BNL
Abstract: We present a novel concept of the Fixed-Field-Alternating (FFA) small racetrack proton accelerator with kinetic energy range between 10-250 MeV made of permanent magnets. The horizontal and vertical tunes are fixed within the energy range providing very fast cycling with a frequency of 1.3 KHz. The injector is 10 MeV commercially available cyclotron with RF frequency of 65 MHz. The permanent magnet synchrotron RF frequency is 390 MHz and acceleration uses the phase jump scheme.

## Slide 2
Applications: Proton Drivers, Cancer therapy accelerator for FLASH, ADS
OUTLINE
CBETA successful commissioning
Small, ‘green’ energy efficient, fastest cycling synchrotron, cost effective
CBETA Follow up: Fast Cycling FFA permanent magnet Synchrotron 1.3 kHz
APPLICATIONS and ADVANTAGES:
Significant Power Consumption Savings due to Fixed Magnetic Field
VERY FAST ACCELERATION as it depends only on RF
Synchrotrons for EIC (reduction in cost, savings in power, large dynamical aperture, small magnets)
SPIN-OFFS in Medical applications
Proton Drivers

## Slide 3: Cornell University Brookhaven National Laboratory Electron Test Accelerator - CBETA
Full proof of principle for the Non-scaling Fixed Field Alternating Gradient
Merging multiple energy orbits into a single straight-line orbit
Development of the new permanent magnet technology

## Slide 4: Established new permanent magnet technology

## Slide 5: FLASH Therapy Requirements
The beam of 1.9 x 1011 protons is equivalent for dose delivery at FLASH rates to a charge of ∼30 nC, as the dose is delivered in 100 ms,
This corresponds to a beam current of 300 nA at the patient, or a dose rate of 20 Gy/s.
Only isochronous cyclotrons are capable of delivering such a sustained current only at the highest energies (see Table bellow): losses in the beam transport between accelerator and patient also reduce the intensity at the patient, particularly at low energies. However, the commonly accepted definition is for dose rates above 40 Gy/s.

## Slide 6: Limits of the Present Facilities
FFA SYNCHROTRON
FFA synchrotron
250
10
650 nA
390 MHz
1.3 kHz
515.9 pC
1.8 T
FLASH REQUIREMENTS: 300 nA, 30 nC, 1.9 x 1011 protons, in 100 ms
A total charge circulating in the permanent magnet proton synchrotron 28 proton bunches per cycle each with 1.2x108 protons makes for a total of 28x1.15x108=3.22x109 protons or 515.9 pC or 515.9pc/783 ms = 658.9 nA. To get the required dose of 60 nC would require 60 nC/515.9 pC = 116 cycles of the fast proton synchrotron. As each cycle is 783 ms long this makes for the total time of treatment TTREATMENT=116x783 ms = 90 ms.

## Slide 7: Improvements for the FLASH therapy in the existing proton therapy systems

## Slide 8: FFA Beam lines with 70—250 MeV kinetic energy range

## Slide 9: Present VARIAN-SIEMENS gantry

## Slide 11: Replace the 230 fixed energy Cyclotron with the fast cycling FFA synchrotron

## Slide 12: Fast Cycling FFA Synchrotron
The proposal is based on the existing US patent by the PI of this proposal:
D. Trbojevic, Title: “Non-scaling fixed field alternating gradient permanent magnet cancer therapy accelerator”, patent number: US 9661737 B2, Date of the patent: May 23, 2017 (belongs to the DOE) .
https://patentimages.storage.googleapis.com/42/5e/92/f7da1cf617d6e3/US9661737.pdf
Cyclotron 10 MeV

## Slide 13: Fast Cycling FFA Synchrotron 10-250 MeV
S (m)
5.8 m
10 m

## Slide 14: Orbit Offsets, Betatron Functions, and Dispersions
-8 mm
Ek=30 MeV
+ 6 mm
Ek=250 MeV
Very Strong Focusing
Very Small Dispersion
Combined Function Permanent Magnets
Dxmax=1.6 cm

## Slide 15: Injection, Extraction and three RF cavities
Magnified injection
orbit
Magnified extraction
orbit
5.68 m
Protons’ orbit at dp/p=+50%
2.7 m
Cyclotron 30 MeV
RF-1
RF-2
RF-3

## Slide 16: Synchrotron Beam Size Estimates from the 10 MeV cyclotron
Input beam is assumed to come from
the 10 MeV cyclotron
Measured emittance ~5 p mm mrad
bx~ 0.4 m
by~ 1 m
At Injection kinetic energy is 10 MeV
= 1.010657 gb=0.14484
gb = ⎷ g2-1 /g
sx =1.517 mm
sy =2.398 mm

## Slide 17: Time of flight dependence during acceleration

## Slide 18: Injection from CYCLOTRON to FFA
28 bunches
Cyclotron RF 65 MHz
60 RF cycles @ top 250 MeV energy
32 cycles=82.05ns
Available 149 RF cycles of synchrotron RF 390 MHz = 382.2 ns @ injection
#1
#2
#3
#4
#5
#6

## Slide 19: Acceleration in Fast-Cycling FFA synchrotron Phase Jump acceleration with Pill Box RF Cavities
Michael Blaskiewicz
- The Phase Jump Acceleration (PJA) method is proposed by M. Blaskiewicz and follows a previous proposal by D. Boussard from CERN.
Acceleration is performed by adjusting the RF phase each turn. The phase jump during acceleration with a fixed frequency. The RF frequency needs to be in a high range, ~370-395 MHz, because of the required large number of RF cycles between the passages of bunches, to achieve higher values of Q. The basic idea is to accelerate a train of bunches with a gap. During the gap the RF phase is adjusted so that when next the bunch train arrives, the phase is correct for acceleration.

## Slide 20: Orbits and betatron function in the Arc Cell

## Slide 21: Permanent Magnets with additional Multipoles

## Slide 22: Extended kinetic energy range from 10 – 250 MeV
Initial Design of Focusing
combined function magnet
Initial Design of Defocusing
combined function magnet
6 cm
Initial results for tunes vs. energy. Usual FFA design cannot get this energy range and tunes vary from initial 0.38 down to 0.04. This dependence removes crossing multiple resonances and increase of the beam emittance or beam loss.

## Slide 23: Orbits in the FFA synchrotron After Dynamical Aperture Improvements
25 -40 mm
0 mm

## Slide 24: Tunes on Energy Dependence

## Slide 25: Dynamical Aperture Studies

## Slide 26: First Attempt to improve dynamical aperture by adjusting the x and y phases per cell to reduce amplitude tune shift

## Slide 27: Vertical Magnetic Field

## Slide 28: Dynamical Aperture Studies
Sept 15, 2022

## Slide 29: Dynamical Aperture Studies

## Slide 30: Dynamical Aperture Studies
66 Cells, Tunes nx=0.246, ny=0.0814, Maximum Orbit Offset 32.7 mm

## Slide 31: Dynamical Aperture Studies

## Slide 32: Magnetic field dependence on Energy

## Slide 33: Application of Fast-Cycling FFA Synchrotron for Proton Cancer FLASH Radiation Therapy
FLASH cancer therapy: Multiple biological studies and even few patients’ treatments around the world in recent years confirmed significant improvements in the cancer treatment results; termed FLASH radiotherapy, involves delivering the same treatment dose but in much shorter time intervals — fractions of a second as opposed to minutes — and in far fewer fractions or even a single fraction and therefore at dose rates that are thousands of times higher [1].
The 10 MeV commercially available cyclotron has frequency of 42 MHz and provides 120 mA. This makes 1.8x107 protons per bunch. As the synchrotron accelerates 30 bunches this makes per each synchrotron cycle NPROTONS = 1.15 x 108 x 30 = 5.4 x 107. To achieve the 3.8 x 1011 protons for FLASH therapy it is required to run the synchrotron per one FLASH treatment N=3.8 x 1011/3.23 x 109~ 700. The total time for the FLASH treatment is tFLASH=700 x 898 ms = 632 ms!
[1] Konrad P. Nesteruk and Serena Psoroulas, “FLASH Irradiation with Proton Beams: Beam Characteristics and Their Implications for Beam Diagnostics”, applied sciences, 2021, 11, 2170, https://doi.org/10.3390/app11052170

## Slide 34: SUMMARY
The 10-250 MeV fast cycling proton synchrotron with cycling of 1.3 kHz is the fastest synchrotron proposed. The synchrotron rates are in a range are 15-60 Hz.
In proton acceleration within the non-relativistic energy range the main problem is the limitation on the speed of magnetic field response to the change of energy. This limitation is now eliminated by using the permanent magnets for the same energy range.
One of possible application is in FLASH cancer radiation therapy.
This proof of principle accelerator would enable new areas of research using the same principle but building the magnets with multi-layer superconducting wires.
Advantages:
The Fast-cycling permanent magnet synchrotron with 6x10 m area is the best possible synchrotron for the cancer proton FLASH radiation therapy it is cost efficient, does not require electrical power, magnets are very small and light.
Small, energy efficient, and fast cycling proton drivers for NPP and HEP.
Future Fast cycling synchrotron accelerator driven system (ADS) for transmutation of nuclear waste.