## Slide 1
Overview of the call process, planning and scheduling, highlights from exploitation user feedback
Tim Noakes
CLARA Technical Co-ordinator
5th July 2022

## Slide 2: Overview
Application process
  Call for proposals
  Technical assessments
  Beam time allocation panel
  Scheduling
Highlights from user feedback
  Specific issues raised

## Slide 3: Application process
Before the call for proposals issued documentation prepared
  VELA_CLARA_Access policy – describing mechanism for access to the VELA/CLARA accelerator
  VELA_CLARA_Evaluation_Criteria – describing the evaluation criteria for beam time Applications
  VELA_CLARA_Useful information – describing VELA/CLARA accelerators and what users can expect during experimental runs
  VELA_CLARA_ExploitationProposalForm – Beam time request application form
First two documents were unchanged from the previous call whereas the ‘Useful Information’ and ‘Proposal Form’ were modified
These documents distributed with the call for proposals

## Slide 4: Overview of the process
Additional ‘flow diagram’ of the process also developed for internal use
All documentation and processes developed to be ‘compatible’ with existing STFC/EPSRC guidelines
Documentation and process to be reviewed again prior to next (CLARA/FEBE) exploitation period

## Slide 5: Call for proposals
Call issued by Deepa Angal-Kalinin (CLARA exploitation leader) on 2nd July 2019
Deadline for submissions 15th August 2019
Applicants encouraged to contact ASTeC staff members to discuss individual requirements before submitting applications – many applicants did this!
22 applications received by the deadline
141 shifts requested out of available 70 – factor of 2 oversubscribed!
13 were for experiments in Beam Area 1 (BA1), most of which required significant set-up time in addition to experimental time

## Slide 6: Technical assessments
Technical assessments carried out on all the proposals
  Feasibility of experiment
  Additional capabilities that might be required
  Technical support and other resource that might be required and how this would be funded
  Potential health and safety issues
  Number of days requested/needed for experiment and set-up
Technical assessments carried out by Technical Co-ordinator (me!) and at least one other staff member
Some proposals were technically quite difficult which may have influenced the panel awarding beam time
The procedure is likely to change for future exploitation using CLARA/FEBE

## Slide 7: Beam time allocation panel (BAP)
Beam time allocation panel met on 2nd October 2019
  Prof Andy Wolski, Liverpool and Cockcroft Institute (Chair)
  Prof Phil Burrows, Oxford and John Adams Institute
  Prof Jim Clarke, ASTeC, STFC
  Dr Tim Noakes, ASTeC, STFC (technical capacity only)
Three ‘voting’ members scored each proposal using the criteria outlined in the relevant document
Scores collated to form an initial ranking order
Pairwise comparison of proposals to form final ranking list
Sanity check of ‘diversity’ across the top ranking proposals
The vast majority of proposals met minimum criteria for allocation!

## Slide 8: Scheduling
10 Experiments approved (including 3 ARIES trans-national access) but one dropped out before scheduling - decision not to reallocate time!
6 experiments required BA1 with 3 in the accelerator hall
8 hour shift/day with some flexibility to run on into the evening at the discretion of the local contact/beam delivery
Unlike the previous period time for routine maintenance contingency and machine characterization days also included.
Exploitation inter-dispersed with longer periods of High Repetition Rate Gun (HRRG) commissioning on the VELA line

## Slide 9: Final version of programme
Multiple attempts to re-schedule beam time (over 15 different schedules drawn up) due to Covid (and RF waveguide problems)
A second experiment was withdrawn before the run commenced
Decision to run exploitation as a single block (no HRRG conditioning until later) but with additional ‘maintenance’ time (effectively contingency)
Finally commenced 12th Oct 2021
  We delivered the whole programme (despite Covid measures still being in place)
  With some exceptions the programme ran relatively smoothly

## Slide 10: Local contacts and teams
Each experiment allocated a different local contact from ASTeC staff
  Contact point for experimental team
  Should establish/more clearly define user requirements
  Assist in the preparation of Risk Assessment and Methods Statements (ultimately users responsibility)
  Try to ensure everything is ready at start of run
  Support the users throughout the run
Also adopted a new ‘Teams’ way of working where beam delivery and key technical staff were identified in advance.
  Better engagement of lab staff with the experiments
  Improved planning through earlier involvement
  Smaller number of dedicated beam delivery staff provide greater continuity

## Slide 11: User Feedback
All users were requested to provide feedback on their experiences
Essentially we used the same form (with a few new questions) as previously to allow comparison of performance
  In-house form - not professional!
Responses received from all 8 experiments run effectively covered the whole exploitation period!

## Slide 12: Feedback form contents
Divided into sections looking at
  Before the experiment
  Set-up time
  Experiment time
  The future
  General
Covered areas such as
  Technical support
  Beam delivery
Results have been collated and (hopefully) anonymised

## Slide 13: Before the experiment (1)
Was sufficient technical information provided?
  Agree/Strongly Agree (range Disagree to Strongly Agree)
Users would have preferred better knowledge of TW laser parameters, measured rather than simulated
Did they receive sufficient information about local procedures such as Health and Safety?
  Agree/Strongly Agree (range Disagree to Strongly Agree)
Users commented that the risk assessment process was onerous and difficult to complete. They felt more help was required. Another commented on the uncertainty on which online training courses they needed to complete beforehand
Did they feel they had sufficient support in writing and Risk Assessment and Method Statement?
  Agree (range Disagree to Strongly Agree)

## Slide 14: Before the experiment (2)
Did their local contact adequately assist them in preparation?
  Agree/Strongly Agree (range Disagree to Strongly Agree)
Some users wanted more and more inclusive preparation meetings and insufficient access due to over commitment of staff was also mentioned
Were sufficient details of TW laser performance provided where applicable?
  Neutral/Agree (range Disagree to Strongly Agree)
Users stated that some key parameters were not known or at least not measured before the beam time commenced, However, others commented on the professionalism and expertise of the ‘laser delivery’ team.

## Slide 15: Set-up time
Proportion of set-up time delivered?
  88% delivered (range 66% to 100%)
BA1 vacuum issues (mostly mitigated by weekend working) given as reason for shortfall. Also need for additional equipment commissioning
Did they receive adequate access to areas and equipment during set-up?
  Agree/Strongly Agree (range Disagree to Strongly Agree)
Personnel carrying out vacuum work and 'unreasonable limitations on out of hours laser modes' given. Guidance on how much time to ask for was also requested. Comments on the usefulness of being scheduled near to other similar experiments sharing the same set-up also made. Also compliments on how quick and easy set-up was.

## Slide 16: Experiment time (1)
Proportion of beam time delivered?
  100% (unanimous)
Were the beam properties as outlined?
  Yes (unanimous)
One user mentioned poor transverse beam properties and another wanted more Gaussian beams. However, half the users commented on exceptional beam stability.
Were TW laser parameters as agreed beforehand?
  Yes/No, and it impacted the experiment (80:20 split between answers)
Users commented on the professionalism of the laser support staff and impressive stability and repeatability of the TW laser but wanted more power.

## Slide 17: Experiment time (2)
Where other facilities/capabilities (e.g. diagnostics) sufficient
  Partially/Yes (range Partially to Yes)
More spatial and temporal diagnostics requested, issues with image data collection and lack of time stamping raised. Request for a trigger to indicate 'beam on'
Ability to interact with the machine for data acquisition?
Issues with image data collection and time stamping raised again. Comments such as ‘no problems at all’ and ‘the interaction was great’

## Slide 18: Experiment time (technical support)
Mechanical support
  Very Satisfied (unanimous)
Vacuum support
  Very Satisfied (range Satisfied to Very Satisfied)
IT support
  Very Satisfied (range Satisfied to Very Satisfied)
Other technical support
  Very Satisfied (range Satisfied to Very Satisfied)
Comment that many staff had gone above and beyond what could be expected to make the experiment work.

## Slide 19: Experiment time (scientific support)
Beam delivery/optimisation support
  Very Satisfied (range Satisfied to Very Satisfied)
Laser support
  Very Satisfied (unanimous)
Other scientific support
  Very Satisfied (range Satisfied to Very Satisfied)
Comment from one user that they had accumulated more useful data than on any similar run on other facilities in the last 25 years

## Slide 20: ‘Teams’ mode of working
Benefits of working in new ‘Teams’ mode
Laboratory staff more engaged with experiment?
  Agree (range Neutral to Strongly Agree)
There were noticeable benefits of working in this mode?
  Agree (range Neutral to Strongly Agree)
Some users who response was Neutral were effectively already working in this mode. Users were generally in favour of the ‘Teams’ working mode

## Slide 21: Experiment time (results)
Proportion of experimental programme completed?
  Average of 79% (range 0% to 100%)
Likely impact
  88% thought that they were likely to produce Journal (and conference) publications, some in high impact journals.
  25% felt the work had contributed to the development of new accelerator technical systems
  25% cited other impact such as material for Ph.D. theses and data to support future grant applications

## Slide 22: The future and overall performance
Likely to want to access CLARA again in the next period?
  75% Yes, 13% Maybe, 13% No.
Overall Experience of using CLARA
  Satisfied/Very Satisfied (range Satisfied to Very Satisfied)
General comments
  Beam and laser stability were good and spectrometer spatial resolution better than expected
  Desire to run another experimental campaign as the capability is important for UK science
  Staff were incredibly helpful but a concern that some were working at unsustainable levels
  ‘The facilities … more than met our requirements’

## Slide 23: Issues arising from user feedback
Five areas identified
Planning – Some users recognised the need to be better prepared for their experiments
Risk assessments – Do users need more help with this?
Data acquisition and diagnostics – Requirement to save multiple image streams simultaneously and shot numbering
TW laser parameters – Not relevant when FEBE laser is online
Support – Need to develop a model that puts less burden on key individuals and removes ‘single points of failure’

## Slide 24: Wash-up meeting
Internal meeting convened to consider both user and staff feedback
Round table discussions on three topics
  User support (including role of local contact, ‘teams’ model)
  Planning (including the preparation of risk assessments)
  Data acquisition (including multiple image stream recording and shot numbering/time stamping)
Many suggestions that will feed into preparations for CLARA/FEBE exploitation in the future

## Slide 25: Summary
Outline of the beam time allocation process given
  Process to be reviewed prior to CLARA/FEBE exploitation
Results of the user feedback survey presented
  User satisfaction with the CLARA exploitation period very high – lots of high quality science done!
  High level of support and attitude of staff was a key reason for this success
  A few issues raised which should be fed into plans for future CLARA/FEBE exploitation

## Slide 26
Thank you
astec.stfc.ac.uk
@ASTeCSTFC