## Slide 1: LhARA KICK-OFF MEETING
Maria Maxouti
14/10/2022

## Slide 2: Monitoring system
To minimize damage on the surrounding healthy cells we need to develop an on-the-fly, non-invasive, range verification system
Bragg peak localization
Dose deposition profile
Real-time exact dosimetry
Solution: ion-acoustic imaging

## Slide 3: ION-acoustic imaging
As the beam penetrates the tissue, it is scattered & absorbed
Increase in temperature
Thermoelastic expansion
Increase in pressure
An acoustic wave is emitted (thermoacoustic effect)
Can be detected by a transducer
Image reconstruction → dose deposition profile

## Slide 4: Smartphantom
10 cm square tank filled with water
The energy distribution (energy as a function of distance) of the particle while propagating in the medium can be obtained

## Slide 5: K-wave
Open-source MATLAB toolbox designed for the simulation of propagating linear and non-linear acoustic waves
Can simulate signals in 1D, 2D and 3D
Works in both homogeneous and heterogeneous media
Considers attenuation and reflections
Can be used to simulate the ion-acoustic process

## Slide 6: Simulation pipeline

## Slide 7: current Results

## Slide 8
From Geant4:
(200 MeV proton beam)
x
y
z

## Slide 9: Initial pressure distribution
(from the imported Geant4 energy data)

## Slide 10: Transducer array – k-Wave
Golden spiral lattice – evenly distributed & closely packed transducer elements
Side view
Top view

## Slide 11
(200 MeV proton beam)
proton beam
sensor array

## Slide 12: IMAGE Reconstruction methods
Iterative time-reversal
Model-based minimization
Back-projection

## Slide 13: ITERATIVE TIME REVERSAL RECONSTRUCTION

## Slide 14: Model-based minimization reconstruction
Uses gradient descent to minimise an error functional consisting of the difference between the data (the measured time series) and the output of a simulation

## Slide 15: Back-projection reconstruction

## Slide 16
Investigate the effect of varying the:
  Number of elements
  Size of elements
  Position of sensor with respect to the beam
  Radius of the sensor
Apply machine learning to remove artefacts and improve speed
Fibre plane construction
Perform the experiment
Future work

## Slide 17
LMU set-up:
Change of design?

## Slide 18: Questions?