## Slide 1: Highlights from the RICH 2022 Conference
Antonis Papanestis
STFC/RAL
RICH = Ring Imaging Cherenkov detector

## Slide 2: Edinburgh Sep 2022
CARBERRY TOWER

## Slide 3: Looking back as well as forward
Homage to Jacques Seguinot
Homage to Sheldon Stone

## Slide 4: Cherenkov radiation
Lake Placid – LHCb Collaboration Week

## Slide 5: Cherenkov principles
Threshold:
Cherenkov angle:
Number of produced photons:

## Slide 6: Refractive index range
Momentum
1
1.5
~100 GeV/c
~1 GeV/c

## Slide 7: RICH Detectors
Measures both the Cherenkov angle and the number of photoelectrons detected.
Can be used over particle identification over large surfaces.
Requires photodetectors with single photon identification capability.
Proximity focusing geometry

## Slide 8: RICH performance
B. N. Ratcliff, NIMA 502 (2003) 211-221
For particles well above threshold
C6F14 (liquid)
C4F10
Aerogel (1.04)
Fused Silica
0.5 mrad
1 mrad
Particle momentum (GeV/c)
Ns p/K separation
3 s
CF4
components:
Emission point error
Detection point error (pixel size)
Chromatic error

## Slide 9
The performance of the LHCb RICH detectors during the runs 1 and 2 of the LHC
Antonis Papanestis
STFC – RAL
on behalf of the LHCb RICH Collaboration

## Slide 10: Overview
The LHCb RICH detectors
Cherenkov angle resolution and alignment
Number of photons
Real-time Online calibration
PID performance
Physics impact
Performance of the LHCb RICH detectors during LHC Run 2
R. Calabrese et al 2022 JINST 17 P07013
Performance of the LHCb RICH detector at the LHC
Adinolfi, M. et al. Eur. Phys. J. C 73, 2431 (2013).

## Slide 11: The LHCb experiment
RICH 1
RICH 2

## Slide 12: The Pixel Hybrid Photon Detectors
The encapsulated electronics operate at a maximum read-out rate of 1 MHz; not compatible with 40 MHz readout

## Slide 13: RICH 1: From 2 radiators to 1
Original design of RICH 1 was to accommodate 2 radiators to cover a wider momentum range:
  C4F10
  Aerogel
However:
  Increased luminosity compared to original design and increased background (and underestimate of track multiplicity) made aerogel photons difficult to identify
  The requirement for offline quality results from High-Level Trigger output put strict conditions for processing time
    Online alignment and calibration before HLT
Removal of aerogel extended the length of the gas radiator

## Slide 14: Aerogel removal
 h
Momentum 
p/K PID 2012/2015
Mis-ID p→K
Efficiency K→K

## Slide 15
Cherenkov angle reconstruction
Notes: The abstract pattern can be removed or repositioned if required. Be careful to ‘Send to Back’ so that it does not obscure any important information.

## Slide 16: HPD photocathode position
Automatic Online calibration for every run (max 1 hour)
One pixel

## Slide 17: HPD Image centre effect
RICH 1
RICH 2
Before corrections
After corrections

## Slide 18: Magnetic field distortions
RICH 1
RICH 2
Before corrections
After corrections
R Cardinale et al, 2011 JINST 6 P06010
A Borgia et al, NIM A 735 (2014) 44-52

## Slide 19: Mirror alignment
-0.1 mrad
Mirror
Rotation
Mirror
Rotation
0.1 mrad
-0.1 mrad
0.1 mrad
Primary (spherical) mirrors
Secondary (~planar) mirrors

## Slide 20: Cherenkov angle resolution
RICH 1
RICH 2
From low track multiplicity events

## Slide 21: Cherenkov angle resolution stability
RICH 1
RICH 2
2016
2017
2018
2017
2016
2018

## Slide 22: Number of detected photons
RICH 1
RICH 2
2016
2017
2018
Using low multiplicity events, identified as muons by the muon system
The number of photons is estimated per track from the resolution plot with the background subtracted
LHCb operates with two magnetic field polarities to avoid systematic errors:
Field UP
Filed DOWN

## Slide 23
Calibration
Notes: The abstract pattern can be removed or repositioned if required. Be careful to ‘Send to Back’ so that it does not obscure any important information.

## Slide 24: Refractive index calibration
Correction factor and air contamination
Residual refractive index bias after correction

## Slide 25: Decays for PID calibration
EPJ Techn Instrum 6, 1 (2019). https://doi.org/10.1140/epjti/s40485-019-0050-z
Identified without RICH information

## Slide 26: Kinematic range (K, p)

## Slide 27
PID performance
Notes: The abstract pattern can be removed or repositioned if required. Be careful to ‘Send to Back’ so that it does not obscure any important information.

## Slide 28: Global likelihood PID method
In the busy LHC environment, most of the “background” to the identification of a given track comes from signals of other tracks in the event
  make a global optimisation of the mass hypotheses
For each track in the event, for a given mass hypothesis, determine the expected distribution of Cherenkov photons on the detector plane using the knowledge of the geometry of the detector and its optical properties
Repeat for all the tracks in the event
From the photon distribution on the detector plane calculate the probability that a signal would be seen in each pixel of the detector from all tracks
Compare this with the observed set of photoelectron signal on the pixels and calculate a likelihood
Repeat the above, changing the set of mass hypothesis of the tracks to find the set of mass hypotheses which maximize the likelihood

## Slide 29: PID performance (2017)

## Slide 30: PID stability

## Slide 31: Physics impact of hadron PID
First measurement of the diﬀerential branching fraction and 𝐶𝑃 asymmetry of the
𝐵± → 𝜋± 𝜇+ 𝜇− decay, JHEP 10 (2015) 034 [arXiv:1509.00414]

## Slide 32: Summary
The data from years 2016 to 2018 have been analysed leading to a better understanding of the detectors and knowledge towards future designs
The original LHCb RICH detectors have been replaced with the new upgraded versions
  Brand new RICH 1, new photon detectors and new electronics everywhere
This is an opportunity to celebrate the success of the original design showing the exceptional performance and stability in a difficult hadron environment