## Slide 1
Time-Of-Flight
Data Reduction
M. Skoda
Notes: The abstract pattern can be removed or repositioned if required. Be careful to ‘Send to Back’ so that it does not obscure any important information.

## Slide 2
sample area
beam monitors
area detector
beam monitor
slits
neutron guides
supermirrors
vacuum vessel
INTER Reflectometer

## Slide 3
Time-Of-Flight Reflectometry
Paris marathon 2014

## Slide 4
Time-Of-Flight Reflectometry
Monitor 1
Monitor 2
Monitor 3
Detector
Source
17 m
20 m
15 m
Paris marathon 2014

## Slide 5
Paris marathon 2014
London marathon 2010
Time-Of-Flight Reflectometry
Maxwell-Boltzmann Distribution
Thermalised neutrons have which energy/velocity distribution?
Gaussian
Maxwell-Boltzmann
Poisson
1
2
3
Maxwell-Boltzmann
2

## Slide 6
Time-Of-Flight Reflectometry
Monitor 1
Monitor 2
Monitor 3
Detector

## Slide 7
Time-Of-Flight Reflectometry
Reflectivity measured from a surface is defined as the ratio of reflected intensity to incident intensity:
?
1
2
To obtain fittable data
Corrections (eg. I0)
Unit conversion (to Qz)
(a)
(b)
What we measure:

## Slide 8
Data reduction steps
InputWorkspace
Convert to l
Normalisation
Transmission Correction
Convert to Q
Transmission Workspace
Convert to l
Normalisation
direct beam or transmission through air, sample cell or substrate.

## Slide 9
l
InputWorkspace
Convert to l
Normalisation
Transmission Correction
Convert to Q
Transmission Workspace
Convert to l
Normalisation
Data reduction steps – Unit conversion to wavelength
l
de Broglie wavelength
l
1
2
17 m
20 m
15 m

## Slide 10
InputWorkspace
Convert to l
Normalisation
Transmission Correction
Convert to Q
Transmission Workspace
Convert to l
Normalisation
integrate monitor spectrum and divide detector by integral
Data reduction steps – Normalisation
17 m
20 m
15 m

## Slide 11
InputWorkspace
Convert to l
Normalisation
Transmission Correction
Convert to Q
Transmission Workspace
Convert to l
Normalisation
Data reduction steps – Normalisation

## Slide 12
InputWorkspace
Convert to l
Normalisation
Transmission Correction
Convert to Q
Transmission Workspace
Convert to l
Normalisation
Data reduction steps – Normalisation

## Slide 13
InputWorkspace
Convert to l
Normalisation
Transmission Correction
Convert to Q
Transmission Workspace
Convert to l
Normalisation
divide sample data by transmission data:
Data reduction steps – Transmission correction

## Slide 14
InputWorkspace
Convert to l
Normalisation
Transmission Correction
Convert to Q
Transmission Workspace
Convert to l
Normalisation
Data reduction steps – Q conversion

## Slide 15
InputWorkspace
Convert to l
Normalisation
Transmission Correction
Convert to Q
Transmission Workspace
Convert to l
Normalisation
Data reduction steps – Stitching
q1
q2
q3

## Slide 16
Further steps and comments
Rebinning
  Should match experimental resolution
Error bars
Kinetic data
Export/save as ASCII
Dq/q=0.005
Dq/q=0.01
Dq/q=0.02
Dq/q=0.03
Dq/q=0.05
Dq/q=0.005

## Slide 17
Data Reduction in Mantid Workbench

## Slide 18
Questions?